## convers.+compens.
file name: PSt1_Eq4_Sal |  |  | 2008-03-29
author: Dr. Christian Huber
programm for temperature compensated oxygen calculation of membrane PSt1
Fit of the calibration curve is optimized between 0 and 250 % air-saturation (0 and 388 Torr)
enter your values here
input of F0,T0 | 58.87 | phase angle of cal 0
input of F100,T100 | 30.69 | phase angle of cal 100 (water-vapor saturated air)
input of Fm,Tm | 15 | measured phase angle
input of T0 | 17.7 | temperature of cal 0
input of T100 | 17.8 | temperatur of cal100
input of Tm | 17.6 | temperature at measurement
air pressure patm | 1013 | air pressure
Salinity | 32.2 | Salinity
Results of calculation + compensation
[%] air saturation | 494.3167 | %
[%] O2 | 103.3122 | %
pO2 [hPa] | 1028.1589 | hPa
pO2 [Torr] | 771.1847 | Torr
cO2 [mg/L] | 38.861 | mg/L
cO2 [ppm] | 38.861 | ppm
cO2 [µmol/L] | 1214.406 | µmol/L
Internal calculated parameter (DO NOT CHANGE !!)
f1 | 0.801
DF/K | -0.08
DKSV/K | 0.000383
m | 22.9
tan(F0,T100) | 1.6552
tan(F0,Tm) | 1.6563
tan(F100,T100) | 0.59352
tan(Fm,Tm) | 0.26795
KSV,T100 | 0.033331
KSV,Tm | 0.033254
A | 156.5815
B | 14.0252
C | -0.64143
a | 7.8124e-06
b | -0.0021661
c | -0.83822
Chlorinity | 17.8227

## Recalculate Fibox values
file name: PSt1_Eq4_Sal |  |  |  | 2008-03-29
author: Dr. Christian Huber
programm for temperature compensated oxygen calculation of membrane PSt1
Fit of the calibration curve is optimized between 0 and 250 % air-saturation (0 and 388 Torr)
Insert your calibration values
cal0 | 58.87 | ° | T0 | 17.7 | °C
cal100 | 30.69 | ° | T100 | 17.8 | °C
air pressure | 1013 | mbar
Salinity | 32.2 | °/°°
Internal calculated parameter (DO NOT CHANGE !!)
f1 | 0.801 | tan(F0,T100) | 1.6552 | A | 156.5815 | KSV,T100 | 0.033331 | a | 1.7113e-05
DF/K | -0.08 | tan(F0,Tm) | 1.6552 | B | 14.0252 | KSV,Tm | 0.033331 | b | 0.0044722 |  |  |  |  | INSERT YOUR RESPECTIVE DATA
DKSV/K | 0.000383 | tan(F100,T100) | 0.59352 | C | -0.64143 |  |  | c | -0.64725 |  |  |  |  | chamber volume [L] | FW alga [g] | mg Chl a Thallus-1
m | 22.9 | tan(Fm,Tm) | 0.58388 |  |  |  |  | Chlorinity | 17.8227 |  |  |  |  | 0.026 | 0.0819 | 0.027876
Insert the data you get from the Ascii File recorded with the OxyView TX3-V5.31.exe software | [7 empty] | The oxygen contents are calculated automatically from the raw data
date | time/hh:mm:ss | logtime/min | oxygen/% airsatur. | phase/° | amp | temp/°C |  | % air-sat. | % oxygen | pO2 (hPa) | pO2 (Torr) | cO2 [mg/L] | cO2 [µmol/L] | cO2 [µmol/L 10 min] | cO2 [µmol/L h] | cO2 [µmol/ h] | cO2 [µmol/ h gFW] | cO2 [µmol/ h gFW]
2010-08-12 | 16:42:54 | 0 | 307.561 | 30.28 | 6240 | 17.8 |  | 103.6316 | 21.659 | 215.494 | 161.6342 | 8.1163 | 253.6338 | 16.122 | 96.732 | 2.515 | 30.7086 | 90.2205
2010-08-12 | 16:43:05 | 0.183 | 307.561 | 30.28 | 6234 | 17.8 |  | 103.6316 | 21.659 | 215.494 | 161.6342 | 8.1163 | 253.6338 | change data input according to column N
2010-08-12 | 16:43:15 | 0.35 | 309.446 | 30.21 | 6202 | 17.8 |  | 104.2664 | 21.7917 | 216.8141 | 162.6244 | 8.166 | 255.1876
2010-08-12 | 16:43:25 | 0.517 | 310.257 | 30.18 | 6209 | 17.8 |  | 104.5399 | 21.8488 | 217.3827 | 163.0509 | 8.1874 | 255.8569
2010-08-12 | 16:43:35 | 0.684 | 313.925 | 30.09 | 6189 | 17.7 |  | 105.5586 | 22.0618 | 219.5295 | 164.6611 | 8.2829 | 258.8392
2010-08-12 | 16:43:45 | 0.851 | 310.11 | 30.23 | 6189 | 17.7 |  | 104.2759 | 21.7937 | 216.8617 | 162.6601 | 8.1822 | 255.6937
2010-08-12 | 16:43:55 | 1.018 | 313.377 | 30.11 | 6202 | 17.7 |  | 105.3743 | 22.0232 | 219.1461 | 164.3736 | 8.2684 | 258.3872
2010-08-12 | 16:44:05 | 1.185 | 312.829 | 30.13 | 6200 | 17.7 |  | 105.1903 | 21.9848 | 218.7635 | 164.0866 | 8.254 | 257.936
2010-08-12 | 16:44:15 | 1.352 | 310.11 | 30.23 | 6185 | 17.7 |  | 104.2759 | 21.7937 | 216.8617 | 162.6601 | 8.1822 | 255.6937
2010-08-12 | 16:44:25 | 1.519 | 313.103 | 30.12 | 6195 | 17.7 |  | 105.2823 | 22.004 | 218.9547 | 164.23 | 8.2612 | 258.1615
2010-08-12 | 16:44:36 | 1.686 | 313.377 | 30.11 | 6200 | 17.7 |  | 105.3743 | 22.0232 | 219.1461 | 164.3736 | 8.2684 | 258.3872
2010-08-12 | 16:44:46 | 1.852 | 311.738 | 30.17 | 6202 | 17.7 |  | 104.8234 | 21.9081 | 218.0005 | 163.5143 | 8.2252 | 257.0364
2010-08-12 | 16:44:56 | 2.019 | 312.283 | 30.15 | 6202 | 17.7 |  | 105.0067 | 21.9464 | 218.3816 | 163.8002 | 8.2395 | 257.4858
2010-08-12 | 16:45:06 | 2.186 | 313.103 | 30.12 | 6189 | 17.7 |  | 105.2823 | 22.004 | 218.9547 | 164.23 | 8.2612 | 258.1615
2010-08-12 | 16:45:16 | 2.353 | 312.829 | 30.13 | 6201 | 17.7 |  | 105.1903 | 21.9848 | 218.7635 | 164.0866 | 8.254 | 257.936
2010-08-12 | 16:45:26 | 2.52 | 312.011 | 30.16 | 6213 | 17.7 |  | 104.915 | 21.9272 | 218.191 | 163.6572 | 8.2324 | 257.261
2010-08-12 | 16:45:36 | 2.687 | 311.466 | 30.18 | 6215 | 17.7 |  | 104.7319 | 21.889 | 217.8103 | 163.3716 | 8.218 | 256.8121
2010-08-12 | 16:45:46 | 2.854 | 312.556 | 30.14 | 6214 | 17.7 |  | 105.0985 | 21.9656 | 218.5725 | 163.9433 | 8.2467 | 257.7108
2010-08-12 | 16:45:56 | 3.021 | 312.283 | 30.15 | 6203 | 17.7 |  | 105.0067 | 21.9464 | 218.3816 | 163.8002 | 8.2395 | 257.4858
2010-08-12 | 16:46:06 | 3.188 | 312.829 | 30.13 | 6203 | 17.7 |  | 105.1903 | 21.9848 | 218.7635 | 164.0866 | 8.254 | 257.936
2010-08-12 | 16:46:16 | 3.355 | 312.011 | 30.16 | 6200 | 17.7 |  | 104.915 | 21.9272 | 218.191 | 163.6572 | 8.2324 | 257.261
2010-08-12 | 16:46:26 | 3.522 | 312.283 | 30.15 | 6200 | 17.7 |  | 105.0067 | 21.9464 | 218.3816 | 163.8002 | 8.2395 | 257.4858 |  | regression formula | time
2010-08-12 | 16:46:36 | 3.689 | 313.925 | 30.09 | 6204 | 17.7 |  | 105.5586 | 22.0618 | 219.5295 | 164.6611 | 8.2829 | 258.8392 | value for T=26 min. | 285.166 | T11
2010-08-12 | 16:46:46 | 3.855 | 313.377 | 30.11 | 6203 | 17.7 |  | 105.3743 | 22.0232 | 219.1461 | 164.3736 | 8.2684 | 258.3872 | value for T=1 min. | 269.044 | T1
2010-08-12 | 16:46:56 | 4.022 | 311.738 | 30.17 | 6200 | 17.7 |  | 104.8234 | 21.9081 | 218.0005 | 163.5143 | 8.2252 | 257.0364 | difference between T25 and T1 | 16.122 | 10minutes
2010-08-12 | 16:47:06 | 4.189 | 311.466 | 30.18 | 6210 | 17.7 |  | 104.7319 | 21.889 | 217.8103 | 163.3716 | 8.218 | 256.8121 | calculate from regression curve values for 10 minutes of photosynthesis or respiration
2010-08-12 | 16:47:16 | 4.356 | 310.11 | 30.23 | 6211 | 17.7 |  | 104.2759 | 21.7937 | 216.8617 | 162.6601 | 8.1822 | 255.6937
2010-08-12 | 16:47:26 | 4.523 | 309.986 | 30.19 | 6201 | 17.8 |  | 104.4486 | 21.8298 | 217.193 | 162.9086 | 8.1803 | 255.6336
2010-08-12 | 16:47:36 | 4.69 | 310.528 | 30.17 | 6202 | 17.8 |  | 104.6312 | 21.8679 | 217.5726 | 163.1933 | 8.1946 | 256.0804
2010-08-12 | 16:47:46 | 4.857 | 312.98 | 30.08 | 6195 | 17.8 |  | 105.4573 | 22.0406 | 219.2903 | 164.4817 | 8.2593 | 258.1021
2010-08-12 | 16:47:56 | 5.024 | 314.351 | 30.03 | 6210 | 17.8 |  | 105.9194 | 22.1372 | 220.2513 | 165.2025 | 8.2955 | 259.2332
2010-08-12 | 16:48:06 | 5.191 | 311.887 | 30.12 | 6202 | 17.8 |  | 105.0892 | 21.9636 | 218.525 | 163.9077 | 8.2304 | 257.2013
2010-08-12 | 16:48:16 | 5.358 | 312.16 | 30.11 | 6195 | 17.8 |  | 105.1811 | 21.9828 | 218.716 | 164.051 | 8.2376 | 257.4262
2010-08-12 | 16:48:26 | 5.524 | 312.98 | 30.08 | 6200 | 17.8 |  | 105.4573 | 22.0406 | 219.2903 | 164.4817 | 8.2593 | 258.1021
2010-08-12 | 16:48:36 | 5.691 | 312.433 | 30.1 | 6203 | 17.8 |  | 105.273 | 22.0021 | 218.9073 | 164.1944 | 8.2448 | 257.6513
2010-08-12 | 16:48:46 | 5.858 | 312.706 | 30.09 | 6202 | 17.8 |  | 105.3651 | 22.0213 | 219.0987 | 164.338 | 8.2521 | 257.8766
2010-08-12 | 16:48:56 | 6.025 | 309.446 | 30.21 | 6192 | 17.8 |  | 104.2664 | 21.7917 | 216.8141 | 162.6244 | 8.166 | 255.1876
2010-08-12 | 16:49:06 | 6.192 | 311.615 | 30.13 | 6191 | 17.8 |  | 104.9974 | 21.9445 | 218.3341 | 163.7645 | 8.2233 | 256.9767
2010-08-12 | 16:49:16 | 6.359 | 312.16 | 30.11 | 6188 | 17.8 |  | 105.1811 | 21.9828 | 218.716 | 164.051 | 8.2376 | 257.4262
2010-08-12 | 16:49:26 | 6.526 | 313.254 | 30.07 | 6205 | 17.8 |  | 105.5495 | 22.0598 | 219.4821 | 164.6256 | 8.2665 | 258.3279
2010-08-12 | 16:49:36 | 6.693 | 311.887 | 30.12 | 6210 | 17.8 |  | 105.0892 | 21.9636 | 218.525 | 163.9077 | 8.2304 | 257.2013
2010-08-12 | 16:49:46 | 6.86 | 311.071 | 30.15 | 6190 | 17.8 |  | 104.8141 | 21.9062 | 217.953 | 163.4786 | 8.2089 | 256.5281
2010-08-12 | 16:49:56 | 7.027 | 312.433 | 30.1 | 6201 | 17.8 |  | 105.273 | 22.0021 | 218.9073 | 164.1944 | 8.2448 | 257.6513
2010-08-12 | 16:50:06 | 7.194 | 309.986 | 30.19 | 6212 | 17.8 |  | 104.4486 | 21.8298 | 217.193 | 162.9086 | 8.1803 | 255.6336
2010-08-12 | 16:50:16 | 7.36 | 311.615 | 30.13 | 6204 | 17.8 |  | 104.9974 | 21.9445 | 218.3341 | 163.7645 | 8.2233 | 256.9767
2010-08-12 | 16:50:26 | 7.527 | 312.16 | 30.11 | 6189 | 17.8 |  | 105.1811 | 21.9828 | 218.716 | 164.051 | 8.2376 | 257.4262
2010-08-12 | 16:50:36 | 7.694 | 311.615 | 30.13 | 6188 | 17.8 |  | 104.9974 | 21.9445 | 218.3341 | 163.7645 | 8.2233 | 256.9767
2010-08-12 | 16:50:46 | 7.861 | 308.367 | 30.25 | 6186 | 17.8 |  | 103.9031 | 21.7158 | 216.0586 | 162.0577 | 8.1375 | 254.2984
2010-08-12 | 16:50:56 | 8.028 | 312.706 | 30.09 | 6190 | 17.8 |  | 105.3651 | 22.0213 | 219.0987 | 164.338 | 8.2521 | 257.8766
2010-08-12 | 16:51:06 | 8.195 | 313.925 | 30.09 | 6194 | 17.7 |  | 105.5586 | 22.0618 | 219.5295 | 164.6611 | 8.2829 | 258.8392
2010-08-12 | 16:51:16 | 8.362 | 314.199 | 30.08 | 6176 | 17.7 |  | 105.651 | 22.081 | 219.7215 | 164.8051 | 8.2901 | 259.0656
2010-08-12 | 16:51:26 | 8.529 | 313.377 | 30.11 | 6188 | 17.7 |  | 105.3743 | 22.0232 | 219.1461 | 164.3736 | 8.2684 | 258.3872
2010-08-12 | 16:51:36 | 8.696 | 313.103 | 30.12 | 6202 | 17.7 |  | 105.2823 | 22.004 | 218.9547 | 164.23 | 8.2612 | 258.1615
2010-08-12 | 16:51:45 | 8.846 | 310.923 | 30.2 | 6185 | 17.7 |  | 104.5492 | 21.8508 | 217.4303 | 163.0866 | 8.2037 | 256.3641
2010-08-12 | 16:51:55 | 9.013 | 315.3 | 30.04 | 6195 | 17.7 |  | 106.0211 | 22.1584 | 220.4914 | 165.3826 | 8.3191 | 259.9733
2010-08-12 | 16:52:05 | 9.18 | 310.11 | 30.23 | 6195 | 17.7 |  | 104.2759 | 21.7937 | 216.8617 | 162.6601 | 8.1822 | 255.6937
2010-08-12 | 16:52:15 | 9.347 | 313.103 | 30.12 | 6191 | 17.7 |  | 105.2823 | 22.004 | 218.9547 | 164.23 | 8.2612 | 258.1615
2010-08-12 | 16:52:25 | 9.514 | 312.283 | 30.15 | 6199 | 17.7 |  | 105.0067 | 21.9464 | 218.3816 | 163.8002 | 8.2395 | 257.4858
2010-08-12 | 16:52:35 | 9.68 | 314.05 | 30.13 | 6188 | 17.6 |  | 105.3837 | 22.0252 | 219.1939 | 164.4094 | 8.2848 | 258.8998
2010-08-12 | 16:52:45 | 9.847 | 311.864 | 30.21 | 6218 | 17.6 |  | 104.6501 | 21.8719 | 217.668 | 163.2649 | 8.2271 | 257.0976
2010-08-12 | 16:52:55 | 10.014 | 314.05 | 30.13 | 6198 | 17.6 |  | 105.3837 | 22.0252 | 219.1939 | 164.4094 | 8.2848 | 258.8998
2010-08-12 | 16:53:05 | 10.181 | 312.955 | 30.17 | 6192 | 17.6 |  | 105.0162 | 21.9484 | 218.4294 | 163.836 | 8.2559 | 257.9969
2010-08-12 | 16:53:15 | 10.348 | 313.228 | 30.16 | 6197 | 17.6 |  | 105.1079 | 21.9676 | 218.6203 | 163.9791 | 8.2631 | 258.2223
2010-08-12 | 16:53:25 | 10.515 | 312.682 | 30.18 | 6188 | 17.6 |  | 104.9245 | 21.9292 | 218.2388 | 163.693 | 8.2487 | 257.7718
2010-08-12 | 16:53:35 | 10.682 | 314.875 | 30.1 | 6198 | 17.6 |  | 105.6603 | 22.083 | 219.7692 | 164.8409 | 8.3065 | 259.5794
2010-08-12 | 16:53:45 | 10.849 | 314.325 | 30.12 | 6206 | 17.6 |  | 105.4758 | 22.0444 | 219.3854 | 164.5531 | 8.292 | 259.1261
2010-08-12 | 16:53:55 | 11.016 | 310.236 | 30.27 | 6194 | 17.6 |  | 104.1037 | 21.7577 | 216.5316 | 162.4125 | 8.1842 | 255.7553
2010-08-12 | 16:54:05 | 11.183 | 311.592 | 30.22 | 6202 | 17.6 |  | 104.5588 | 21.8528 | 217.4782 | 163.1225 | 8.2199 | 256.8733
2010-08-12 | 16:54:15 | 11.35 | 314.325 | 30.12 | 6181 | 17.6 |  | 105.4758 | 22.0444 | 219.3854 | 164.5531 | 8.292 | 259.1261
2010-08-12 | 16:54:25 | 11.517 | 313.502 | 30.15 | 6190 | 17.6 |  | 105.1997 | 21.9867 | 218.8113 | 164.1224 | 8.2703 | 258.4479
2010-08-12 | 16:54:35 | 11.683 | 315.425 | 30.08 | 6194 | 17.6 |  | 105.8452 | 22.1216 | 220.1537 | 165.1293 | 8.3211 | 260.0335
2010-08-12 | 16:54:45 | 11.85 | 312.409 | 30.19 | 6195 | 17.6 |  | 104.833 | 21.9101 | 218.0484 | 163.5502 | 8.2415 | 257.5468
2010-08-12 | 16:54:55 | 12.017 | 312.682 | 30.18 | 6201 | 17.6 |  | 104.9245 | 21.9292 | 218.2388 | 163.693 | 8.2487 | 257.7718
2010-08-12 | 16:55:05 | 12.184 | 317.362 | 30.01 | 6199 | 17.6 |  | 106.4951 | 22.2575 | 221.5055 | 166.1433 | 8.3722 | 261.6303
2010-08-12 | 16:55:15 | 12.351 | 316.531 | 30.04 | 6186 | 17.6 |  | 106.216 | 22.1991 | 220.925 | 165.7079 | 8.3502 | 260.9446
2010-08-12 | 16:55:25 | 12.518 | 314.6 | 30.11 | 6191 | 17.6 |  | 105.568 | 22.0637 | 219.5772 | 164.6969 | 8.2993 | 259.3526
2010-08-12 | 16:55:35 | 12.685 | 315.425 | 30.08 | 6201 | 17.6 |  | 105.8452 | 22.1216 | 220.1537 | 165.1293 | 8.3211 | 260.0335
2010-08-12 | 16:55:45 | 12.852 | 314.05 | 30.13 | 6197 | 17.6 |  | 105.3837 | 22.0252 | 219.1939 | 164.4094 | 8.2848 | 258.8998
2010-08-12 | 16:55:55 | 13.019 | 312.955 | 30.17 | 6193 | 17.6 |  | 105.0162 | 21.9484 | 218.4294 | 163.836 | 8.2559 | 257.9969
2010-08-12 | 16:56:06 | 13.186 | 315.15 | 30.09 | 6202 | 17.6 |  | 105.7527 | 22.1023 | 219.9613 | 164.985 | 8.3138 | 259.8063
2010-08-12 | 16:56:16 | 13.353 | 315.15 | 30.09 | 6183 | 17.6 |  | 105.7527 | 22.1023 | 219.9613 | 164.985 | 8.3138 | 259.8063
2010-08-12 | 16:56:26 | 13.519 | 312.682 | 30.18 | 6200 | 17.6 |  | 104.9245 | 21.9292 | 218.2388 | 163.693 | 8.2487 | 257.7718
2010-08-12 | 16:56:36 | 13.686 | 313.776 | 30.14 | 6202 | 17.6 |  | 105.2917 | 22.006 | 219.0025 | 164.2658 | 8.2776 | 258.6738
2010-08-12 | 16:56:46 | 13.853 | 311.32 | 30.23 | 6184 | 17.6 |  | 104.4676 | 21.8337 | 217.2885 | 162.9802 | 8.2128 | 256.6493
2010-08-12 | 16:56:56 | 14.02 | 313.377 | 30.11 | 6203 | 17.7 |  | 105.3743 | 22.0232 | 219.1461 | 164.3736 | 8.2684 | 258.3872
2010-08-12 | 16:57:06 | 14.187 | 314.199 | 30.08 | 6188 | 17.7 |  | 105.651 | 22.081 | 219.7215 | 164.8051 | 8.2901 | 259.0656
2010-08-12 | 16:57:16 | 14.354 | 313.377 | 30.11 | 6198 | 17.7 |  | 105.3743 | 22.0232 | 219.1461 | 164.3736 | 8.2684 | 258.3872
2010-08-12 | 16:57:26 | 14.521 | 314.749 | 30.06 | 6197 | 17.7 |  | 105.8359 | 22.1197 | 220.1061 | 165.0936 | 8.3046 | 259.519
2010-08-12 | 16:57:36 | 14.687 | 312.829 | 30.13 | 6187 | 17.7 |  | 105.1903 | 21.9848 | 218.7635 | 164.0866 | 8.254 | 257.936
2010-08-12 | 16:57:46 | 14.855 | 312.556 | 30.14 | 6188 | 17.7 |  | 105.0985 | 21.9656 | 218.5725 | 163.9433 | 8.2467 | 257.7108
2010-08-12 | 16:57:56 | 15.021 | 311.195 | 30.19 | 6188 | 17.7 |  | 104.6405 | 21.8699 | 217.6202 | 163.229 | 8.2108 | 256.588
2010-08-12 | 16:58:06 | 15.188 | 312.829 | 30.13 | 6203 | 17.7 |  | 105.1903 | 21.9848 | 218.7635 | 164.0866 | 8.254 | 257.936
2010-08-12 | 16:58:16 | 15.355 | 316.683 | 29.99 | 6181 | 17.7 |  | 106.4859 | 22.2556 | 221.458 | 166.1076 | 8.3556 | 261.113
2010-08-12 | 16:58:26 | 15.522 | 313.377 | 30.11 | 6192 | 17.7 |  | 105.3743 | 22.0232 | 219.1461 | 164.3736 | 8.2684 | 258.3872
2010-08-12 | 16:58:36 | 15.689 | 311.738 | 30.17 | 6184 | 17.7 |  | 104.8234 | 21.9081 | 218.0005 | 163.5143 | 8.2252 | 257.0364
2010-08-12 | 16:58:46 | 15.856 | 312.556 | 30.14 | 6197 | 17.7 |  | 105.0985 | 21.9656 | 218.5725 | 163.9433 | 8.2467 | 257.7108
2010-08-12 | 16:58:56 | 16.023 | 311.738 | 30.17 | 6188 | 17.7 |  | 104.8234 | 21.9081 | 218.0005 | 163.5143 | 8.2252 | 257.0364
2010-08-12 | 16:59:06 | 16.19 | 313.103 | 30.12 | 6189 | 17.7 |  | 105.2823 | 22.004 | 218.9547 | 164.23 | 8.2612 | 258.1615
2010-08-12 | 16:59:16 | 16.357 | 311.466 | 30.18 | 6194 | 17.7 |  | 104.7319 | 21.889 | 217.8103 | 163.3716 | 8.218 | 256.8121
2010-08-12 | 16:59:26 | 16.524 | 315.15 | 30.09 | 6186 | 17.6 |  | 105.7527 | 22.1023 | 219.9613 | 164.985 | 8.3138 | 259.8063
2010-08-12 | 16:59:36 | 16.69 | 314.325 | 30.12 | 6174 | 17.6 |  | 105.4758 | 22.0444 | 219.3854 | 164.5531 | 8.292 | 259.1261
2010-08-12 | 16:59:46 | 16.857 | 317.085 | 30.02 | 6182 | 17.6 |  | 106.402 | 22.238 | 221.3118 | 165.998 | 8.3648 | 261.4015
2010-08-12 | 16:59:56 | 17.024 | 316.808 | 30.03 | 6184 | 17.6 |  | 106.3089 | 22.2186 | 221.1183 | 165.8529 | 8.3575 | 261.1729
2010-08-12 | 17:00:06 | 17.191 | 316.808 | 30.03 | 6178 | 17.6 |  | 106.3089 | 22.2186 | 221.1183 | 165.8529 | 8.3575 | 261.1729
2010-08-12 | 17:00:16 | 17.358 | 314.875 | 30.1 | 6175 | 17.6 |  | 105.6603 | 22.083 | 219.7692 | 164.8409 | 8.3065 | 259.5794
2010-08-12 | 17:00:26 | 17.525 | 316.254 | 30.05 | 6184 | 17.6 |  | 106.1232 | 22.1797 | 220.7319 | 165.563 | 8.3429 | 260.7165
2010-08-12 | 17:00:36 | 17.692 | 313.228 | 30.16 | 6187 | 17.6 |  | 105.1079 | 21.9676 | 218.6203 | 163.9791 | 8.2631 | 258.2223
2010-08-12 | 17:00:46 | 17.859 | 314.05 | 30.13 | 6179 | 17.6 |  | 105.3837 | 22.0252 | 219.1939 | 164.4094 | 8.2848 | 258.8998
2010-08-12 | 17:00:56 | 18.026 | 316.381 | 30.09 | 6172 | 17.5 |  | 105.9472 | 22.143 | 220.3942 | 165.3097 | 8.3449 | 260.778
2010-08-12 | 17:01:06 | 18.193 | 316.658 | 30.08 | 6166 | 17.5 |  | 106.0399 | 22.1623 | 220.5869 | 165.4542 | 8.3522 | 261.006
2010-08-12 | 17:01:16 | 18.36 | 318.602 | 30.01 | 6178 | 17.5 |  | 106.691 | 22.2984 | 221.9413 | 166.4701 | 8.4035 | 262.6086
2010-08-12 | 17:01:26 | 18.527 | 317.49 | 30.05 | 6160 | 17.5 |  | 106.3184 | 22.2205 | 221.1662 | 165.8887 | 8.3741 | 261.6915
2010-08-12 | 17:01:36 | 18.694 | 318.602 | 30.01 | 6170 | 17.5 |  | 106.691 | 22.2984 | 221.9413 | 166.4701 | 8.4035 | 262.6086
2010-08-12 | 17:01:46 | 18.86 | 316.658 | 30.08 | 6169 | 17.5 |  | 106.0399 | 22.1623 | 220.5869 | 165.4542 | 8.3522 | 261.006
2010-08-12 | 17:01:56 | 19.027 | 319.16 | 29.99 | 6164 | 17.5 |  | 106.8778 | 22.3375 | 222.33 | 166.7617 | 8.4182 | 263.0686
2010-08-12 | 17:02:06 | 19.194 | 317.918 | 29.99 | 6164 | 17.6 |  | 106.6816 | 22.2965 | 221.8935 | 166.4343 | 8.3868 | 262.0885
2010-08-12 | 17:02:16 | 19.361 | 316.531 | 30.04 | 6148 | 17.6 |  | 106.216 | 22.1991 | 220.925 | 165.7079 | 8.3502 | 260.9446
2010-08-12 | 17:02:26 | 19.528 | 319.593 | 29.93 | 6155 | 17.6 |  | 107.2435 | 22.4139 | 223.0622 | 167.3108 | 8.431 | 263.4688
2010-08-12 | 17:02:36 | 19.695 | 317.918 | 29.99 | 6160 | 17.6 |  | 106.6816 | 22.2965 | 221.8935 | 166.4343 | 8.3868 | 262.0885
2010-08-12 | 17:02:46 | 19.862 | 317.085 | 30.02 | 6160 | 17.6 |  | 106.402 | 22.238 | 221.3118 | 165.998 | 8.3648 | 261.4015
2010-08-12 | 17:02:56 | 20.029 | 315.977 | 30.06 | 6160 | 17.6 |  | 106.0304 | 22.1604 | 220.539 | 165.4183 | 8.3356 | 260.4886
2010-08-12 | 17:03:06 | 20.196 | 316.254 | 30.05 | 6156 | 17.6 |  | 106.1232 | 22.1797 | 220.7319 | 165.563 | 8.3429 | 260.7165
2010-08-12 | 17:03:16 | 20.363 | 316.531 | 30.04 | 6167 | 17.6 |  | 106.216 | 22.1991 | 220.925 | 165.7079 | 8.3502 | 260.9446
2010-08-12 | 17:03:25 | 20.513 | 317.362 | 30.01 | 6143 | 17.6 |  | 106.4951 | 22.2575 | 221.5055 | 166.1433 | 8.3722 | 261.6303
2010-08-12 | 17:03:35 | 20.68 | 320.434 | 29.9 | 6152 | 17.6 |  | 107.5257 | 22.4729 | 223.6491 | 167.7511 | 8.4532 | 264.1621
2010-08-12 | 17:03:45 | 20.846 | 319.593 | 29.93 | 6137 | 17.6 |  | 107.2435 | 22.4139 | 223.0622 | 167.3108 | 8.431 | 263.4688
2010-08-12 | 17:03:55 | 21.013 | 319.033 | 29.95 | 6154 | 17.6 |  | 107.0558 | 22.3747 | 222.6718 | 167.0181 | 8.4163 | 263.0078
2010-08-12 | 17:04:05 | 21.18 | 320.153 | 29.91 | 6139 | 17.6 |  | 107.4315 | 22.4532 | 223.4533 | 167.6042 | 8.4458 | 263.9308
2010-08-12 | 17:04:15 | 21.347 | 319.593 | 29.93 | 6142 | 17.6 |  | 107.2435 | 22.4139 | 223.0622 | 167.3108 | 8.431 | 263.4688
2010-08-12 | 17:04:25 | 21.514 | 318.197 | 29.98 | 6134 | 17.6 |  | 106.775 | 22.316 | 222.0878 | 166.58 | 8.3942 | 262.318
2010-08-12 | 17:04:35 | 21.681 | 321.277 | 29.87 | 6127 | 17.6 |  | 107.8087 | 22.532 | 224.2378 | 168.1927 | 8.4754 | 264.8575
2010-08-12 | 17:04:45 | 21.848 | 319.033 | 29.95 | 6141 | 17.6 |  | 107.0558 | 22.3747 | 222.6718 | 167.0181 | 8.4163 | 263.0078
2010-08-12 | 17:04:55 | 22.015 | 320.714 | 29.89 | 6133 | 17.6 |  | 107.6199 | 22.4926 | 223.8452 | 167.8981 | 8.4606 | 264.3937
2010-08-12 | 17:05:05 | 22.182 | 321.841 | 29.85 | 6123 | 17.6 |  | 107.9979 | 22.5716 | 224.6313 | 168.4878 | 8.4903 | 265.3222
2010-08-12 | 17:05:15 | 22.349 | 321.559 | 29.86 | 6121 | 17.6 |  | 107.9033 | 22.5518 | 224.4345 | 168.3402 | 8.4829 | 265.0898
2010-08-12 | 17:05:25 | 22.516 | 320.871 | 29.84 | 6125 | 17.7 |  | 107.8944 | 22.5499 | 224.3873 | 168.3048 | 8.4661 | 264.5668
2010-08-12 | 17:05:35 | 22.682 | 318.63 | 29.92 | 6112 | 17.7 |  | 107.1406 | 22.3924 | 222.8195 | 167.1288 | 8.407 | 262.7183
2010-08-12 | 17:05:45 | 22.849 | 321.153 | 29.83 | 6109 | 17.7 |  | 107.9891 | 22.5697 | 224.5841 | 168.4524 | 8.4736 | 264.7989
2010-08-12 | 17:05:55 | 23.016 | 321.435 | 29.82 | 6105 | 17.7 |  | 108.0838 | 22.5895 | 224.7812 | 168.6002 | 8.481 | 265.0312
2010-08-12 | 17:06:05 | 23.183 | 322.282 | 29.79 | 6098 | 17.7 |  | 108.3687 | 22.6491 | 225.3735 | 169.0445 | 8.5033 | 265.7297
2010-08-12 | 17:06:15 | 23.35 | 321.717 | 29.81 | 6108 | 17.7 |  | 108.1787 | 22.6093 | 224.9784 | 168.7482 | 8.4884 | 265.2638
2010-08-12 | 17:06:25 | 23.517 | 321.153 | 29.83 | 6111 | 17.7 |  | 107.9891 | 22.5697 | 224.5841 | 168.4524 | 8.4736 | 264.7989
2010-08-12 | 17:06:35 | 23.684 | 324.392 | 29.76 | 6096 | 17.6 |  | 108.8539 | 22.7505 | 226.4118 | 169.8233 | 8.5576 | 267.4252
2010-08-12 | 17:06:45 | 23.851 | 324.677 | 29.75 | 6099 | 17.6 |  | 108.9495 | 22.7704 | 226.6106 | 169.9724 | 8.5651 | 267.6601
2010-08-12 | 17:06:55 | 24.018 | 322.689 | 29.82 | 6101 | 17.6 |  | 108.2824 | 22.631 | 225.223 | 168.9316 | 8.5127 | 266.0211
2010-08-12 | 17:07:05 | 24.185 | 324.962 | 29.74 | 6097 | 17.6 |  | 109.0452 | 22.7904 | 226.8096 | 170.1217 | 8.5726 | 267.8951
2010-08-12 | 17:07:15 | 24.352 | 323.823 | 29.78 | 6090 | 17.6 |  | 108.663 | 22.7106 | 226.0147 | 169.5254 | 8.5426 | 266.9562
2010-08-12 | 17:07:25 | 24.518 | 324.962 | 29.74 | 6068 | 17.6 |  | 109.0452 | 22.7904 | 226.8096 | 170.1217 | 8.5726 | 267.8951
2010-08-12 | 17:07:35 | 24.685 | 325.819 | 29.71 | 6094 | 17.6 |  | 109.3328 | 22.8506 | 227.4079 | 170.5704 | 8.5953 | 268.6018
2010-08-12 | 17:07:46 | 24.852 | 326.392 | 29.69 | 6076 | 17.6 |  | 109.5251 | 22.8907 | 227.8078 | 170.8704 | 8.6104 | 269.0741
2010-08-12 | 17:07:56 | 25.019 | 325.533 | 29.72 | 6068 | 17.6 |  | 109.2368 | 22.8305 | 227.2083 | 170.4207 | 8.5877 | 268.366
2010-08-12 | 17:08:06 | 25.186 | 324.392 | 29.76 | 6081 | 17.6 |  | 108.8539 | 22.7505 | 226.4118 | 169.8233 | 8.5576 | 267.4252
2010-08-12 | 17:08:16 | 25.353 | 327.541 | 29.65 | 6073 | 17.6 |  | 109.9107 | 22.9713 | 228.6099 | 171.472 | 8.6407 | 270.0216
2010-08-12 | 17:08:26 | 25.52 | 326.105 | 29.7 | 6071 | 17.6 |  | 109.4289 | 22.8706 | 227.6077 | 170.7203 | 8.6028 | 268.8378
2010-08-12 | 17:08:36 | 25.687 | 326.966 | 29.67 | 6065 | 17.6 |  | 109.7177 | 22.931 | 228.2084 | 171.1709 | 8.6255 | 269.5474
2010-08-12 | 17:08:46 | 25.854 | 326.679 | 29.68 | 6058 | 17.6 |  | 109.6213 | 22.9109 | 228.008 | 171.0205 | 8.6179 | 269.3106
2010-08-12 | 17:08:56 | 26.021 | 325.533 | 29.72 | 6058 | 17.6 |  | 109.2368 | 22.8305 | 227.2083 | 170.4207 | 8.5877 | 268.366
2010-08-12 | 17:09:06 | 26.187 | 326.966 | 29.67 | 6061 | 17.6 |  | 109.7177 | 22.931 | 228.2084 | 171.1709 | 8.6255 | 269.5474
2010-08-12 | 17:09:16 | 26.355 | 328.984 | 29.6 | 6050 | 17.6 |  | 110.395 | 23.0726 | 229.6172 | 172.2276 | 8.6788 | 271.2113
2010-08-12 | 17:09:26 | 26.521 | 330.144 | 29.56 | 6047 | 17.6 |  | 110.7842 | 23.1539 | 230.4267 | 172.8347 | 8.7094 | 272.1675
2010-08-12 | 17:09:36 | 26.688 | 329.854 | 29.57 | 6042 | 17.6 |  | 110.6868 | 23.1335 | 230.224 | 172.6827 | 8.7017 | 271.9281
2010-08-12 | 17:09:46 | 26.855 | 328.118 | 29.63 | 6055 | 17.6 |  | 110.1042 | 23.0118 | 229.0122 | 171.7738 | 8.6559 | 270.4968
2010-08-12 | 17:09:56 | 27.022 | 330.726 | 29.54 | 6021 | 17.6 |  | 110.9794 | 23.1947 | 230.8327 | 173.1393 | 8.7247 | 272.647
2010-08-12 | 17:10:06 | 27.189 | 330.435 | 29.55 | 6026 | 17.6 |  | 110.8818 | 23.1743 | 230.6296 | 172.9869 | 8.717 | 272.4071
2010-08-12 | 17:10:16 | 27.356 | 326.966 | 29.67 | 6039 | 17.6 |  | 109.7177 | 22.931 | 228.2084 | 171.1709 | 8.6255 | 269.5474
2010-08-12 | 17:10:26 | 27.523 | 332.185 | 29.49 | 6023 | 17.6 |  | 111.4691 | 23.297 | 231.8513 | 173.9033 | 8.7632 | 273.8501
2010-08-12 | 17:10:36 | 27.69 | 331.017 | 29.53 | 6019 | 17.6 |  | 111.0772 | 23.2151 | 231.036 | 173.2918 | 8.7324 | 272.8872
2010-08-12 | 17:10:46 | 27.857 | 333.358 | 29.45 | 6022 | 17.6 |  | 111.8627 | 23.3793 | 232.6699 | 174.5173 | 8.7941 | 274.817
2010-08-12 | 17:10:56 | 28.024 | 329.564 | 29.58 | 6009 | 17.6 |  | 110.5894 | 23.1132 | 230.0216 | 172.5308 | 8.694 | 271.6889
2010-08-12 | 17:11:06 | 28.191 | 331.893 | 29.5 | 6013 | 17.6 |  | 111.371 | 23.2765 | 231.6472 | 173.7502 | 8.7555 | 273.609
2010-08-12 | 17:11:16 | 28.357 | 332.185 | 29.49 | 6004 | 17.6 |  | 111.4691 | 23.297 | 231.8513 | 173.9033 | 8.7632 | 273.8501
2010-08-12 | 17:11:26 | 28.524 | 331.893 | 29.5 | 6004 | 17.6 |  | 111.371 | 23.2765 | 231.6472 | 173.7502 | 8.7555 | 273.609
2010-08-12 | 17:11:36 | 28.691 | 333.946 | 29.43 | 5999 | 17.6 |  | 112.0601 | 23.4206 | 233.0805 | 174.8252 | 8.8097 | 275.302
2010-08-12 | 17:11:46 | 28.858 | 333.946 | 29.43 | 6004 | 17.6 |  | 112.0601 | 23.4206 | 233.0805 | 174.8252 | 8.8097 | 275.302
2010-08-12 | 17:11:56 | 29.025 | 333.946 | 29.43 | 6000 | 17.6 |  | 112.0601 | 23.4206 | 233.0805 | 174.8252 | 8.8097 | 275.302
2010-08-12 | 17:12:06 | 29.192 | 333.825 | 29.39 | 5979 | 17.7 |  | 112.2501 | 23.4603 | 233.4458 | 175.0992 | 8.8079 | 275.2473
2010-08-12 | 17:12:16 | 29.359 | 335.894 | 29.32 | 5985 | 17.7 |  | 112.9458 | 23.6057 | 234.8925 | 176.1843 | 8.8625 | 276.9531
2010-08-12 | 17:12:26 | 29.525 | 332.943 | 29.42 | 5980 | 17.7 |  | 111.9535 | 23.3983 | 232.8289 | 174.6365 | 8.7846 | 274.52
2010-08-12 | 17:12:36 | 29.692 | 335.005 | 29.35 | 5976 | 17.7 |  | 112.647 | 23.5432 | 234.2712 | 175.7183 | 8.8391 | 276.2206
2010-08-12 | 17:12:46 | 29.859 | 334.71 | 29.36 | 5981 | 17.7 |  | 112.5477 | 23.5225 | 234.0645 | 175.5633 | 8.8313 | 275.9769
2010-08-12 | 17:12:56 | 30.026 | 335.597 | 29.33 | 5973 | 17.7 |  | 112.8461 | 23.5848 | 234.6852 | 176.0289 | 8.8547 | 276.7087
2010-08-12 | 17:13:06 | 30.193 | 335.894 | 29.32 | 5972 | 17.7 |  | 112.9458 | 23.6057 | 234.8925 | 176.1843 | 8.8625 | 276.9531
2010-08-12 | 17:13:16 | 30.36 | 335.597 | 29.33 | 5964 | 17.7 |  | 112.8461 | 23.5848 | 234.6852 | 176.0289 | 8.8547 | 276.7087
2010-08-12 | 17:13:26 | 30.527 | 336.488 | 29.3 | 5950 | 17.7 |  | 113.1454 | 23.6474 | 235.3078 | 176.4958 | 8.8782 | 277.4427
2010-08-12 | 17:13:36 | 30.694 | 337.381 | 29.27 | 5941 | 17.7 |  | 113.4457 | 23.7102 | 235.9322 | 176.9642 | 8.9017 | 278.179
2010-08-12 | 17:13:46 | 30.861 | 337.977 | 29.25 | 5947 | 17.7 |  | 113.6464 | 23.7521 | 236.3496 | 177.2773 | 8.9175 | 278.6712
2010-08-12 | 17:13:56 | 31.028 | 335.894 | 29.32 | 5941 | 17.7 |  | 112.9458 | 23.6057 | 234.8925 | 176.1843 | 8.8625 | 276.9531
2010-08-12 | 17:14:06 | 31.195 | 337.083 | 29.28 | 5932 | 17.7 |  | 113.3455 | 23.6892 | 235.7239 | 176.8079 | 8.8939 | 277.9334