## convers.+compens.
file name: PSt1_Eq4_Sal |  |  | 2008-03-29
author: Dr. Christian Huber
programm for temperature compensated oxygen calculation of membrane PSt1
Fit of the calibration curve is optimized between 0 and 250 % air-saturation (0 and 388 Torr)
enter your values here
input of F0,T0 | 59.41 | phase angle of cal 0
input of F100,T100 | 31.06 | phase angle of cal 100 (water-vapor saturated air)
input of Fm,Tm | 30.4 | measured phase angle
input of T0 | 18 | temperature of cal 0
input of T100 | 17.8 | temperatur of cal100
input of Tm | 18.4 | temperature at measurement
air pressure patm | 1013 | air pressure
Salinity | 29.8 | Salinity
Results of calculation + compensation
[%] air saturation | 104.7191 | %
[%] O2 | 21.8863 | %
pO2 [hPa] | 217.5833 | hPa
pO2 [Torr] | 163.2013 | Torr
cO2 [mg/L] | 8.2351 | mg/L
cO2 [ppm] | 8.2351 | ppm
cO2 [µmol/L] | 257.3484 | µmol/L
Internal calculated parameter (DO NOT CHANGE !!)
f1 | 0.801
DF/K | -0.08
DKSV/K | 0.000383
m | 22.9
tan(F0,T100) | 1.6927
tan(F0,Tm) | 1.6894
tan(F100,T100) | 0.60229
tan(Fm,Tm) | 0.5867
KSV,T100 | 0.033895
KSV,Tm | 0.034125
A | 155.3811
B | 13.7383
C | -0.64418
a | 1.766e-05
b | 0.0043838
c | -0.65272
Chlorinity | 16.4931

## Recalculate Fibox values
file name: PSt1_Eq4_Sal |  |  |  | 2008-03-29
author: Dr. Christian Huber
programm for temperature compensated oxygen calculation of membrane PSt1
Fit of the calibration curve is optimized between 0 and 250 % air-saturation (0 and 388 Torr)
Insert your calibration values
cal0 | 59.41 | ° | T0 | 18 | °C
cal100 | 31.06 | ° | T100 | 17.8 | °C
air pressure | 1020 | mbar
Salinity | 29.8 | °/°°
Internal calculated parameter (DO NOT CHANGE !!)
f1 | 0.801 | tan(F0,T100) | 1.6927 | A | 155.3811 | KSV,T100 | 0.033895 | a | 1.766e-05
DF/K | -0.08 | tan(F0,Tm) | 1.6894 | B | 13.7383 | KSV,Tm | 0.034125 | b | 0.0043838 | [5 empty] | INSERT YOUR RESPECTIVE DATA
DKSV/K | 0.000383 | tan(F100,T100) | 0.60229 | C | -0.64418 |  |  | c | -0.65272 |  |  |  |  | Blank (chamber 3) cO2 [µmol/ h] | chamber volume [L] | Fresh weight [g]
m | 22.9 | tan(Fm,Tm) | 0.5867 |  |  |  |  | Chlorinity | 16.4931 |  |  |  |  | -0.41107 | 0.02607 | 0.0981
Insert the data you get from the Ascii File recorded with the OxyView TX3-V5.31.exe software | [7 empty] | The oxygen contents are calculated automatically from the raw data
date | time/hh:mm:ss | logtime/min | oxygen/% airsatur. | phase/° | amp | temp/°C |  | % air-sat. | % oxygen | pO2 (hPa) | pO2 (Torr) | cO2 [mg/L] | cO2 [µmol/L] |  | cO2 [µmol/L 10 min] | cO2 [µmol/L h] | cO2 [µmol/ h] | cO2 [µmol/ h gFW]
2010-07-28 | 15:46:39 | 0 | 307.006 | 30.4 | 5920 | 18.4 |  | 104.7191 | 21.8863 | 219.119 | 164.3532 | 8.2933 | 259.1646 |  | 61.9351 | 371.6104 | 10.0988 | 102.9443
2010-07-28 | 15:46:50 | 0.183 | 308.609 | 30.34 | 5930 | 18.4 |  | 105.2658 | 22.0006 | 220.2629 | 165.2112 | 8.3366 | 260.5175
2010-07-28 | 15:47:00 | 0.35 | 309.414 | 30.31 | 5930 | 18.4 |  | 105.5404 | 22.0579 | 220.8374 | 165.6421 | 8.3583 | 261.197 |  | change data input according to column N
2010-07-28 | 15:47:10 | 0.517 | 305.943 | 30.44 | 5938 | 18.4 |  | 104.3565 | 21.8105 | 218.3601 | 163.784 | 8.2645 | 258.2671
2010-07-28 | 15:47:21 | 0.684 | 308.609 | 30.34 | 5931 | 18.4 |  | 105.2658 | 22.0006 | 220.2629 | 165.2112 | 8.3366 | 260.5175
2010-07-28 | 15:47:31 | 0.851 | 306.74 | 30.41 | 5933 | 18.4 |  | 104.6283 | 21.8673 | 218.929 | 164.2107 | 8.2861 | 258.9399
2010-07-28 | 15:47:41 | 1.018 | 307.006 | 30.4 | 5948 | 18.4 |  | 104.7191 | 21.8863 | 219.119 | 164.3532 | 8.2933 | 259.1646
2010-07-28 | 15:47:51 | 1.185 | 310.221 | 30.28 | 5934 | 18.4 |  | 105.8157 | 22.1155 | 221.4136 | 166.0743 | 8.3801 | 261.8786
2010-07-28 | 15:48:01 | 1.352 | 305.413 | 30.46 | 5925 | 18.4 |  | 104.1757 | 21.7727 | 217.9818 | 163.5003 | 8.2502 | 257.8196
2010-07-28 | 15:48:11 | 1.519 | 306.208 | 30.43 | 5928 | 18.4 |  | 104.447 | 21.8294 | 218.5496 | 163.9261 | 8.2717 | 258.4911
2010-07-28 | 15:48:21 | 1.686 | 309.683 | 30.3 | 5926 | 18.4 |  | 105.6321 | 22.0771 | 221.0292 | 165.786 | 8.3656 | 261.424
2010-07-28 | 15:48:31 | 1.852 | 309.145 | 30.32 | 5925 | 18.4 |  | 105.4487 | 22.0388 | 220.6457 | 165.4983 | 8.3511 | 260.9703
2010-07-28 | 15:48:41 | 2.019 | 308.341 | 30.35 | 5945 | 18.4 |  | 105.1745 | 21.9815 | 220.0717 | 165.0678 | 8.3293 | 260.2915
2010-07-28 | 15:48:51 | 2.186 | 310.606 | 30.31 | 5929 | 18.3 |  | 105.7319 | 22.098 | 221.2676 | 165.9648 | 8.3893 | 262.1669
2010-07-28 | 15:49:01 | 2.353 | 307.655 | 30.42 | 5945 | 18.3 |  | 104.7274 | 21.888 | 219.1654 | 164.3881 | 8.3096 | 259.6762
2010-07-28 | 15:49:11 | 2.52 | 310.336 | 30.32 | 5938 | 18.3 |  | 105.6402 | 22.0788 | 221.0756 | 165.8208 | 8.3821 | 261.9393
2010-07-28 | 15:49:21 | 2.687 | 307.655 | 30.42 | 5933 | 18.3 |  | 104.7274 | 21.888 | 219.1654 | 164.3881 | 8.3096 | 259.6762
2010-07-28 | 15:49:31 | 2.854 | 306.324 | 30.47 | 5938 | 18.3 |  | 104.2744 | 21.7934 | 218.2174 | 163.677 | 8.2737 | 258.5529
2010-07-28 | 15:49:41 | 3.021 | 307.922 | 30.41 | 5940 | 18.3 |  | 104.8183 | 21.907 | 219.3556 | 164.5307 | 8.3168 | 259.9015
2010-07-28 | 15:49:51 | 3.188 | 308.457 | 30.39 | 5944 | 18.3 |  | 105.0003 | 21.9451 | 219.7365 | 164.8164 | 8.3313 | 260.3528
2010-07-28 | 15:50:01 | 3.355 | 307.655 | 30.42 | 5945 | 18.3 |  | 104.7274 | 21.888 | 219.1654 | 164.3881 | 8.3096 | 259.6762
2010-07-28 | 15:50:11 | 3.522 | 308.189 | 30.4 | 5928 | 18.3 |  | 104.9092 | 21.926 | 219.546 | 164.6735 | 8.3241 | 260.127
2010-07-28 | 15:50:21 | 3.689 | 307.388 | 30.43 | 5939 | 18.3 |  | 104.6366 | 21.8691 | 218.9755 | 164.2456 | 8.3024 | 259.4511 |  |  | regression formula | time
2010-07-28 | 15:50:31 | 3.856 | 308.457 | 30.39 | 5941 | 18.3 |  | 105.0003 | 21.9451 | 219.7365 | 164.8164 | 8.3313 | 260.3528 |  | value for T=26 min. | 349.412 | T11
2010-07-28 | 15:50:41 | 4.022 | 307.122 | 30.44 | 5944 | 18.3 |  | 104.546 | 21.8501 | 218.7857 | 164.1032 | 8.2952 | 259.2262 |  | value for T=1 min. | 287.888 | T1
2010-07-28 | 15:50:51 | 4.189 | 308.189 | 30.4 | 5940 | 18.3 |  | 104.9092 | 21.926 | 219.546 | 164.6735 | 8.3241 | 260.127 |  | difference between T25 and T1 | 61.524 | 10minutes
2010-07-28 | 15:51:01 | 4.356 | 306.474 | 30.42 | 5950 | 18.4 |  | 104.5376 | 21.8484 | 218.7392 | 164.0683 | 8.2789 | 258.7154 |  | calculate from regression curve values for 10 minutes of photosynthesis or respiration
2010-07-28 | 15:51:11 | 4.523 | 308.341 | 30.35 | 5931 | 18.4 |  | 105.1745 | 21.9815 | 220.0717 | 165.0678 | 8.3293 | 260.2915
2010-07-28 | 15:51:21 | 4.69 | 307.806 | 30.37 | 5933 | 18.4 |  | 104.992 | 21.9433 | 219.6901 | 164.7816 | 8.3149 | 259.8401
2010-07-28 | 15:51:31 | 4.857 | 307.006 | 30.4 | 5940 | 18.4 |  | 104.7191 | 21.8863 | 219.119 | 164.3532 | 8.2933 | 259.1646
2010-07-28 | 15:51:41 | 5.024 | 307.806 | 30.37 | 5941 | 18.4 |  | 104.992 | 21.9433 | 219.6901 | 164.7816 | 8.3149 | 259.8401
2010-07-28 | 15:51:51 | 5.191 | 310.491 | 30.27 | 5932 | 18.4 |  | 105.9077 | 22.1347 | 221.606 | 166.2187 | 8.3874 | 262.1062
2010-07-28 | 15:52:01 | 5.357 | 305.148 | 30.47 | 5948 | 18.4 |  | 104.0854 | 21.7538 | 217.793 | 163.3586 | 8.2431 | 257.5962
2010-07-28 | 15:52:11 | 5.524 | 307.539 | 30.38 | 5943 | 18.4 |  | 104.901 | 21.9243 | 219.4995 | 164.6386 | 8.3077 | 259.6147
2010-07-28 | 15:52:21 | 5.691 | 307.006 | 30.4 | 5951 | 18.4 |  | 104.7191 | 21.8863 | 219.119 | 164.3532 | 8.2933 | 259.1646
2010-07-28 | 15:52:31 | 5.858 | 304.62 | 30.49 | 5947 | 18.4 |  | 103.9051 | 21.7162 | 217.4158 | 163.0757 | 8.2288 | 257.1501
2010-07-28 | 15:52:41 | 6.025 | 305.943 | 30.44 | 5941 | 18.4 |  | 104.3565 | 21.8105 | 218.3601 | 163.784 | 8.2645 | 258.2671
2010-07-28 | 15:52:51 | 6.192 | 306.474 | 30.42 | 5945 | 18.4 |  | 104.5376 | 21.8484 | 218.7392 | 164.0683 | 8.2789 | 258.7154
2010-07-28 | 15:53:01 | 6.359 | 305.943 | 30.44 | 5944 | 18.4 |  | 104.3565 | 21.8105 | 218.3601 | 163.784 | 8.2645 | 258.2671
2010-07-28 | 15:53:11 | 6.526 | 307.273 | 30.39 | 5947 | 18.4 |  | 104.81 | 21.9053 | 219.3091 | 164.4958 | 8.3005 | 259.3895
2010-07-28 | 15:53:21 | 6.693 | 308.341 | 30.35 | 5948 | 18.4 |  | 105.1745 | 21.9815 | 220.0717 | 165.0678 | 8.3293 | 260.2915
2010-07-28 | 15:53:31 | 6.86 | 301.732 | 30.6 | 5941 | 18.4 |  | 102.92 | 21.5103 | 215.3545 | 161.5296 | 8.1508 | 254.7121
2010-07-28 | 15:53:41 | 7.027 | 305.943 | 30.44 | 5949 | 18.4 |  | 104.3565 | 21.8105 | 218.3601 | 163.784 | 8.2645 | 258.2671
2010-07-28 | 15:53:51 | 7.194 | 310.221 | 30.28 | 5936 | 18.4 |  | 105.8157 | 22.1155 | 221.4136 | 166.0743 | 8.3801 | 261.8786
2010-07-28 | 15:54:01 | 7.36 | 305.148 | 30.47 | 5948 | 18.4 |  | 104.0854 | 21.7538 | 217.793 | 163.3586 | 8.2431 | 257.5962
2010-07-28 | 15:54:11 | 7.527 | 307.273 | 30.39 | 5956 | 18.4 |  | 104.81 | 21.9053 | 219.3091 | 164.4958 | 8.3005 | 259.3895
2010-07-28 | 15:54:21 | 7.694 | 304.356 | 30.5 | 5938 | 18.4 |  | 103.8151 | 21.6974 | 217.2275 | 162.9344 | 8.2217 | 256.9274
2010-07-28 | 15:54:31 | 7.861 | 308.341 | 30.35 | 5946 | 18.4 |  | 105.1745 | 21.9815 | 220.0717 | 165.0678 | 8.3293 | 260.2915
2010-07-28 | 15:54:41 | 8.028 | 304.884 | 30.48 | 5952 | 18.4 |  | 103.9952 | 21.735 | 217.6043 | 163.2171 | 8.2359 | 257.3731
2010-07-28 | 15:54:51 | 8.195 | 306.474 | 30.42 | 5950 | 18.4 |  | 104.5376 | 21.8484 | 218.7392 | 164.0683 | 8.2789 | 258.7154
2010-07-28 | 15:55:01 | 8.362 | 307.006 | 30.4 | 5947 | 18.4 |  | 104.7191 | 21.8863 | 219.119 | 164.3532 | 8.2933 | 259.1646
2010-07-28 | 15:55:11 | 8.529 | 307.006 | 30.4 | 5953 | 18.4 |  | 104.7191 | 21.8863 | 219.119 | 164.3532 | 8.2933 | 259.1646
2010-07-28 | 15:55:21 | 8.696 | 305.943 | 30.44 | 5952 | 18.4 |  | 104.3565 | 21.8105 | 218.3601 | 163.784 | 8.2645 | 258.2671
2010-07-28 | 15:55:30 | 8.846 | 304.092 | 30.51 | 5940 | 18.4 |  | 103.7252 | 21.6786 | 217.0393 | 162.7933 | 8.2146 | 256.7049
2010-07-28 | 15:55:40 | 9.013 | 308.074 | 30.36 | 5946 | 18.4 |  | 105.0832 | 21.9624 | 219.8808 | 164.9246 | 8.3221 | 260.0657
2010-07-28 | 15:55:50 | 9.18 | 305.943 | 30.44 | 5931 | 18.4 |  | 104.3565 | 21.8105 | 218.3601 | 163.784 | 8.2645 | 258.2671
2010-07-28 | 15:56:00 | 9.347 | 308.609 | 30.34 | 5957 | 18.4 |  | 105.2658 | 22.0006 | 220.2629 | 165.2112 | 8.3366 | 260.5175
2010-07-28 | 15:56:10 | 9.514 | 304.356 | 30.5 | 5939 | 18.4 |  | 103.8151 | 21.6974 | 217.2275 | 162.9344 | 8.2217 | 256.9274
2010-07-28 | 15:56:20 | 9.68 | 305.148 | 30.47 | 5959 | 18.4 |  | 104.0854 | 21.7538 | 217.793 | 163.3586 | 8.2431 | 257.5962
2010-07-28 | 15:56:30 | 9.847 | 308.992 | 30.37 | 5951 | 18.3 |  | 105.1827 | 21.9832 | 220.1181 | 165.1026 | 8.3458 | 260.805
2010-07-28 | 15:56:40 | 10.014 | 306.59 | 30.46 | 5950 | 18.3 |  | 104.3648 | 21.8123 | 218.4067 | 163.8189 | 8.2809 | 258.7771
2010-07-28 | 15:56:50 | 10.181 | 304.209 | 30.55 | 5958 | 18.3 |  | 103.5542 | 21.6428 | 216.7103 | 162.5466 | 8.2166 | 256.7672
2010-07-28 | 15:57:00 | 10.348 | 306.59 | 30.46 | 5953 | 18.3 |  | 104.3648 | 21.8123 | 218.4067 | 163.8189 | 8.2809 | 258.7771
2010-07-28 | 15:57:10 | 10.515 | 307.122 | 30.44 | 5950 | 18.3 |  | 104.546 | 21.8501 | 218.7857 | 164.1032 | 8.2952 | 259.2262
2010-07-28 | 15:57:20 | 10.682 | 305 | 30.52 | 5958 | 18.3 |  | 103.8236 | 21.6991 | 217.2741 | 162.9694 | 8.2379 | 257.4352
2010-07-28 | 15:57:30 | 10.849 | 307.122 | 30.44 | 5950 | 18.3 |  | 104.546 | 21.8501 | 218.7857 | 164.1032 | 8.2952 | 259.2262
2010-07-28 | 15:57:40 | 11.016 | 307.655 | 30.42 | 5952 | 18.3 |  | 104.7274 | 21.888 | 219.1654 | 164.3881 | 8.3096 | 259.6762
2010-07-28 | 15:57:50 | 11.183 | 310.336 | 30.32 | 5960 | 18.3 |  | 105.6402 | 22.0788 | 221.0756 | 165.8208 | 8.3821 | 261.9393
2010-07-28 | 15:58:00 | 11.349 | 305.413 | 30.46 | 5958 | 18.4 |  | 104.1757 | 21.7727 | 217.9818 | 163.5003 | 8.2502 | 257.8196
2010-07-28 | 15:58:10 | 11.517 | 308.992 | 30.37 | 5970 | 18.3 |  | 105.1827 | 21.9832 | 220.1181 | 165.1026 | 8.3458 | 260.805
2010-07-28 | 15:58:20 | 11.683 | 303.303 | 30.54 | 5959 | 18.4 |  | 103.456 | 21.6223 | 216.4761 | 162.3708 | 8.1932 | 256.0387
2010-07-28 | 15:58:30 | 11.85 | 304.62 | 30.49 | 5963 | 18.4 |  | 103.9051 | 21.7162 | 217.4158 | 163.0757 | 8.2288 | 257.1501
2010-07-28 | 15:58:40 | 12.017 | 304.092 | 30.51 | 5962 | 18.4 |  | 103.7252 | 21.6786 | 217.0393 | 162.7933 | 8.2146 | 256.7049
2010-07-28 | 15:58:50 | 12.184 | 306.208 | 30.43 | 5963 | 18.4 |  | 104.447 | 21.8294 | 218.5496 | 163.9261 | 8.2717 | 258.4911
2010-07-28 | 15:59:00 | 12.351 | 303.566 | 30.53 | 5959 | 18.4 |  | 103.5457 | 21.641 | 216.6636 | 162.5115 | 8.2003 | 256.2605
2010-07-28 | 15:59:11 | 12.518 | 304.356 | 30.5 | 5967 | 18.4 |  | 103.8151 | 21.6974 | 217.2275 | 162.9344 | 8.2217 | 256.9274
2010-07-28 | 15:59:21 | 12.685 | 304.884 | 30.48 | 5950 | 18.4 |  | 103.9952 | 21.735 | 217.6043 | 163.2171 | 8.2359 | 257.3731
2010-07-28 | 15:59:31 | 12.852 | 305.413 | 30.46 | 5965 | 18.4 |  | 104.1757 | 21.7727 | 217.9818 | 163.5003 | 8.2502 | 257.8196
2010-07-28 | 15:59:41 | 13.019 | 305.413 | 30.46 | 5954 | 18.4 |  | 104.1757 | 21.7727 | 217.9818 | 163.5003 | 8.2502 | 257.8196
2010-07-28 | 15:59:51 | 13.186 | 308.074 | 30.36 | 5954 | 18.4 |  | 105.0832 | 21.9624 | 219.8808 | 164.9246 | 8.3221 | 260.0657
2010-07-28 | 16:00:01 | 13.352 | 305.413 | 30.46 | 5957 | 18.4 |  | 104.1757 | 21.7727 | 217.9818 | 163.5003 | 8.2502 | 257.8196
2010-07-28 | 16:00:11 | 13.519 | 305.148 | 30.47 | 5966 | 18.4 |  | 104.0854 | 21.7538 | 217.793 | 163.3586 | 8.2431 | 257.5962
2010-07-28 | 16:00:21 | 13.686 | 304.356 | 30.5 | 5961 | 18.4 |  | 103.8151 | 21.6974 | 217.2275 | 162.9344 | 8.2217 | 256.9274
2010-07-28 | 16:00:31 | 13.853 | 304.092 | 30.51 | 5961 | 18.4 |  | 103.7252 | 21.6786 | 217.0393 | 162.7933 | 8.2146 | 256.7049
2010-07-28 | 16:00:41 | 14.02 | 306.208 | 30.43 | 5951 | 18.4 |  | 104.447 | 21.8294 | 218.5496 | 163.9261 | 8.2717 | 258.4911
2010-07-28 | 16:00:51 | 14.187 | 305.943 | 30.44 | 5966 | 18.4 |  | 104.3565 | 21.8105 | 218.3601 | 163.784 | 8.2645 | 258.2671
2010-07-28 | 16:01:01 | 14.354 | 305.413 | 30.46 | 5963 | 18.4 |  | 104.1757 | 21.7727 | 217.9818 | 163.5003 | 8.2502 | 257.8196
2010-07-28 | 16:01:11 | 14.521 | 303.829 | 30.52 | 5965 | 18.4 |  | 103.6354 | 21.6598 | 216.8514 | 162.6524 | 8.2074 | 256.4826
2010-07-28 | 16:01:21 | 14.688 | 304.884 | 30.48 | 5964 | 18.4 |  | 103.9952 | 21.735 | 217.6043 | 163.2171 | 8.2359 | 257.3731
2010-07-28 | 16:01:31 | 14.855 | 305.943 | 30.44 | 5964 | 18.4 |  | 104.3565 | 21.8105 | 218.3601 | 163.784 | 8.2645 | 258.2671
2010-07-28 | 16:01:41 | 15.021 | 301.767 | 30.51 | 5973 | 18.6 |  | 103.3499 | 21.6001 | 216.196 | 162.1608 | 8.154 | 254.811
2010-07-28 | 16:01:51 | 15.188 | 302.552 | 30.48 | 5968 | 18.6 |  | 103.6189 | 21.6564 | 216.7589 | 162.583 | 8.1752 | 255.4744
2010-07-28 | 16:02:01 | 15.355 | 304.13 | 30.42 | 5964 | 18.6 |  | 104.1594 | 21.7693 | 217.8895 | 163.431 | 8.2178 | 256.8069
2010-07-28 | 16:02:11 | 15.522 | 299.165 | 30.61 | 5959 | 18.6 |  | 102.4588 | 21.4139 | 214.332 | 160.7626 | 8.0836 | 252.614
2010-07-28 | 16:02:21 | 15.689 | 304.13 | 30.42 | 5971 | 18.6 |  | 104.1594 | 21.7693 | 217.8895 | 163.431 | 8.2178 | 256.8069
2010-07-28 | 16:02:31 | 15.856 | 300.723 | 30.55 | 5980 | 18.6 |  | 102.9924 | 21.5254 | 215.4482 | 161.5999 | 8.1257 | 253.9296
2010-07-28 | 16:02:41 | 16.023 | 302.028 | 30.5 | 5970 | 18.6 |  | 103.4395 | 21.6189 | 216.3835 | 162.3014 | 8.161 | 255.0319
2010-07-28 | 16:02:51 | 16.19 | 303.34 | 30.45 | 5959 | 18.6 |  | 103.8888 | 21.7128 | 217.3233 | 163.0064 | 8.1965 | 256.1397
2010-07-28 | 16:03:01 | 16.357 | 302.028 | 30.5 | 5961 | 18.6 |  | 103.4395 | 21.6189 | 216.3835 | 162.3014 | 8.161 | 255.0319
2010-07-28 | 16:03:11 | 16.524 | 300.723 | 30.55 | 5974 | 18.6 |  | 102.9924 | 21.5254 | 215.4482 | 161.5999 | 8.1257 | 253.9296
2010-07-28 | 16:03:21 | 16.69 | 303.603 | 30.44 | 5970 | 18.6 |  | 103.9789 | 21.7316 | 217.5119 | 163.1478 | 8.2036 | 256.3619
2010-07-28 | 16:03:31 | 16.857 | 302.443 | 30.44 | 5960 | 18.7 |  | 103.7908 | 21.6923 | 217.0892 | 162.8307 | 8.1733 | 255.4158
2010-07-28 | 16:03:41 | 17.024 | 302.968 | 30.42 | 5971 | 18.7 |  | 103.971 | 21.7299 | 217.4661 | 163.1134 | 8.1875 | 255.8592
2010-07-28 | 16:03:51 | 17.191 | 299.573 | 30.55 | 5964 | 18.7 |  | 102.8061 | 21.4865 | 215.0294 | 161.2858 | 8.0958 | 252.9924
2010-07-28 | 16:04:01 | 17.358 | 301.657 | 30.47 | 5966 | 18.7 |  | 103.5212 | 21.6359 | 216.5252 | 162.4077 | 8.1521 | 254.7522
2010-07-28 | 16:04:11 | 17.525 | 302.968 | 30.42 | 5973 | 18.7 |  | 103.971 | 21.7299 | 217.4661 | 163.1134 | 8.1875 | 255.8592
2010-07-28 | 16:04:21 | 17.692 | 302.18 | 30.45 | 5967 | 18.7 |  | 103.7009 | 21.6735 | 216.901 | 162.6896 | 8.1662 | 255.1944
2010-07-28 | 16:04:31 | 17.859 | 302.18 | 30.45 | 5976 | 18.7 |  | 103.7009 | 21.6735 | 216.901 | 162.6896 | 8.1662 | 255.1944
2010-07-28 | 16:04:41 | 18.026 | 299.833 | 30.54 | 5963 | 18.7 |  | 102.8951 | 21.5051 | 215.2157 | 161.4255 | 8.1028 | 253.2116
2010-07-28 | 16:04:51 | 18.193 | 302.18 | 30.45 | 5966 | 18.7 |  | 103.7009 | 21.6735 | 216.901 | 162.6896 | 8.1662 | 255.1944
2010-07-28 | 16:05:01 | 18.36 | 300.352 | 30.52 | 5960 | 18.7 |  | 103.0736 | 21.5424 | 215.5889 | 161.7054 | 8.1168 | 253.6507
2010-07-28 | 16:05:11 | 18.526 | 303.757 | 30.39 | 5961 | 18.7 |  | 104.242 | 21.7866 | 218.0328 | 163.5385 | 8.2088 | 256.526
2010-07-28 | 16:05:21 | 18.694 | 301.288 | 30.44 | 5964 | 18.8 |  | 103.6033 | 21.6531 | 216.6674 | 162.5143 | 8.1432 | 254.474
2010-07-28 | 16:05:31 | 18.86 | 301.027 | 30.45 | 5969 | 18.8 |  | 103.5134 | 21.6343 | 216.4796 | 162.3735 | 8.1361 | 254.2534
2010-07-28 | 16:05:41 | 19.027 | 301.027 | 30.45 | 5955 | 18.8 |  | 103.5134 | 21.6343 | 216.4796 | 162.3735 | 8.1361 | 254.2534
2010-07-28 | 16:05:51 | 19.194 | 301.288 | 30.44 | 5946 | 18.8 |  | 103.6033 | 21.6531 | 216.6674 | 162.5143 | 8.1432 | 254.474
2010-07-28 | 16:06:01 | 19.361 | 302.073 | 30.41 | 5940 | 18.8 |  | 103.8732 | 21.7095 | 217.232 | 162.9378 | 8.1644 | 255.137
2010-07-28 | 16:06:11 | 19.528 | 304.178 | 30.33 | 5941 | 18.8 |  | 104.597 | 21.8608 | 218.7457 | 164.0732 | 8.2213 | 256.9149
2010-07-28 | 16:06:21 | 19.695 | 306.299 | 30.25 | 5926 | 18.8 |  | 105.3266 | 22.0133 | 220.2715 | 165.2177 | 8.2786 | 258.7069
2010-07-28 | 16:06:31 | 19.862 | 306.033 | 30.26 | 5935 | 18.8 |  | 105.2351 | 21.9941 | 220.0801 | 165.0741 | 8.2714 | 258.4822
2010-07-28 | 16:06:41 | 20.029 | 304.971 | 30.3 | 5937 | 18.8 |  | 104.8699 | 21.9178 | 219.3164 | 164.5013 | 8.2427 | 257.5853
2010-07-28 | 16:06:51 | 20.196 | 306.195 | 30.21 | 5909 | 18.9 |  | 105.5028 | 22.0501 | 220.6099 | 165.4715 | 8.2769 | 258.6521
2010-07-28 | 16:07:01 | 20.362 | 304.602 | 30.27 | 5906 | 18.9 |  | 104.9539 | 21.9354 | 219.462 | 164.6105 | 8.2338 | 257.3063
2010-07-28 | 16:07:10 | 20.513 | 305.397 | 30.24 | 5885 | 18.9 |  | 105.2279 | 21.9926 | 220.0351 | 165.0403 | 8.2553 | 257.9782
2010-07-28 | 16:07:20 | 20.68 | 306.728 | 30.19 | 5884 | 18.9 |  | 105.6865 | 22.0885 | 220.994 | 165.7596 | 8.2913 | 259.1025
2010-07-28 | 16:07:30 | 20.847 | 310.22 | 30.06 | 5871 | 18.9 |  | 106.8896 | 22.3399 | 223.5097 | 167.6465 | 8.3857 | 262.052
2010-07-28 | 16:07:40 | 21.014 | 313.483 | 29.94 | 5859 | 18.9 |  | 108.0141 | 22.5749 | 225.861 | 169.4102 | 8.4739 | 264.8088
2010-07-28 | 16:07:50 | 21.18 | 307.964 | 30.1 | 5846 | 19 |  | 106.3257 | 22.2221 | 222.3 | 166.7392 | 8.3257 | 260.1795
2010-07-28 | 16:08:00 | 21.347 | 312.836 | 29.92 | 5837 | 19 |  | 108.0078 | 22.5736 | 225.8169 | 169.3771 | 8.4575 | 264.2956
2010-07-28 | 16:08:10 | 21.514 | 310.66 | 30 | 5824 | 19 |  | 107.2565 | 22.4166 | 224.246 | 168.1988 | 8.3986 | 262.4571
2010-07-28 | 16:08:20 | 21.681 | 313.656 | 29.89 | 5805 | 19 |  | 108.2911 | 22.6328 | 226.4092 | 169.8214 | 8.4796 | 264.9889
2010-07-28 | 16:08:30 | 21.848 | 314.754 | 29.85 | 5797 | 19 |  | 108.6702 | 22.7121 | 227.2018 | 170.4158 | 8.5093 | 265.9165
2010-07-28 | 16:08:40 | 22.015 | 315.581 | 29.82 | 5783 | 19 |  | 108.9555 | 22.7717 | 227.7983 | 170.8633 | 8.5317 | 266.6146
2010-07-28 | 16:08:50 | 22.182 | 320.592 | 29.64 | 5766 | 19 |  | 110.6856 | 23.1333 | 231.4155 | 173.5764 | 8.6671 | 270.8482
2010-07-28 | 16:09:00 | 22.349 | 316.41 | 29.79 | 5767 | 19 |  | 109.2417 | 22.8315 | 228.3966 | 171.312 | 8.5541 | 267.3149
2010-07-28 | 16:09:10 | 22.515 | 319.191 | 29.69 | 5746 | 19 |  | 110.2019 | 23.0322 | 230.4042 | 172.8178 | 8.6293 | 269.6645
2010-07-28 | 16:09:20 | 22.682 | 322 | 29.59 | 5748 | 19 |  | 111.1718 | 23.2349 | 232.4321 | 174.3389 | 8.7052 | 272.038
2010-07-28 | 16:09:30 | 22.849 | 323.888 | 29.48 | 5722 | 19.1 |  | 112.0483 | 23.4181 | 234.2322 | 175.6891 | 8.7574 | 273.6677
2010-07-28 | 16:09:40 | 23.016 | 325.314 | 29.43 | 5703 | 19.1 |  | 112.5416 | 23.5212 | 235.2634 | 176.4626 | 8.7959 | 274.8725
2010-07-28 | 16:09:50 | 23.184 | 323.888 | 29.48 | 5682 | 19.1 |  | 112.0483 | 23.4181 | 234.2322 | 175.6891 | 8.7574 | 273.6677
2010-07-28 | 16:10:00 | 23.351 | 327.323 | 29.36 | 5670 | 19.1 |  | 113.2365 | 23.6664 | 236.716 | 177.5521 | 8.8502 | 276.5696
2010-07-28 | 16:10:11 | 23.518 | 329.346 | 29.29 | 5662 | 19.1 |  | 113.9363 | 23.8127 | 238.179 | 178.6494 | 8.9049 | 278.2789
2010-07-28 | 16:10:21 | 23.685 | 330.217 | 29.26 | 5652 | 19.1 |  | 114.2378 | 23.8757 | 238.8092 | 179.1221 | 8.9285 | 279.0152
2010-07-28 | 16:10:31 | 23.852 | 335.503 | 29.08 | 5639 | 19.1 |  | 116.0662 | 24.2578 | 242.6315 | 181.9891 | 9.0714 | 283.481
2010-07-28 | 16:10:41 | 24.019 | 331.676 | 29.21 | 5622 | 19.1 |  | 114.7423 | 23.9811 | 239.8639 | 179.9132 | 8.9679 | 280.2475
2010-07-28 | 16:10:51 | 24.186 | 333.935 | 29.09 | 5613 | 19.2 |  | 115.7555 | 24.1929 | 241.9484 | 181.4767 | 9.0301 | 282.1916
2010-07-28 | 16:11:01 | 24.353 | 333.935 | 29.09 | 5607 | 19.2 |  | 115.7555 | 24.1929 | 241.9484 | 181.4767 | 9.0301 | 282.1916
2010-07-28 | 16:11:11 | 24.519 | 337.198 | 28.98 | 5595 | 19.2 |  | 116.8866 | 24.4293 | 244.3125 | 183.2499 | 9.1184 | 284.9489
2010-07-28 | 16:11:21 | 24.686 | 337.198 | 28.98 | 5575 | 19.2 |  | 116.8866 | 24.4293 | 244.3125 | 183.2499 | 9.1184 | 284.9489
2010-07-28 | 16:11:31 | 24.853 | 338.694 | 28.93 | 5569 | 19.2 |  | 117.4049 | 24.5376 | 245.3959 | 184.0626 | 9.1588 | 286.2126
2010-07-28 | 16:11:41 | 25.02 | 338.994 | 28.92 | 5564 | 19.2 |  | 117.5089 | 24.5594 | 245.6133 | 184.2256 | 9.1669 | 286.4661
2010-07-28 | 16:11:51 | 25.187 | 337.796 | 28.96 | 5545 | 19.2 |  | 117.0936 | 24.4726 | 244.7452 | 183.5745 | 9.1345 | 285.4536
2010-07-28 | 16:12:01 | 25.354 | 341.708 | 28.83 | 5523 | 19.2 |  | 118.4498 | 24.756 | 247.5798 | 185.7006 | 9.2403 | 288.7596
2010-07-28 | 16:12:11 | 25.521 | 345.673 | 28.7 | 5517 | 19.2 |  | 119.8243 | 25.0433 | 250.4529 | 187.8556 | 9.3475 | 292.1106
2010-07-28 | 16:12:21 | 25.688 | 347.213 | 28.65 | 5503 | 19.2 |  | 120.358 | 25.1548 | 251.5683 | 188.6923 | 9.3892 | 293.4116
2010-07-28 | 16:12:31 | 25.855 | 343.144 | 28.74 | 5499 | 19.3 |  | 119.1854 | 24.9097 | 249.0826 | 186.8278 | 9.2803 | 290.0081
2010-07-28 | 16:12:41 | 26.021 | 345.899 | 28.65 | 5478 | 19.3 |  | 120.1423 | 25.1097 | 251.0824 | 188.3278 | 9.3548 | 292.3366
2010-07-28 | 16:12:51 | 26.188 | 347.44 | 28.6 | 5477 | 19.3 |  | 120.6778 | 25.2217 | 252.2016 | 189.1673 | 9.3965 | 293.6396
2010-07-28 | 16:13:01 | 26.355 | 347.44 | 28.6 | 5446 | 19.3 |  | 120.6778 | 25.2217 | 252.2016 | 189.1673 | 9.3965 | 293.6396
2010-07-28 | 16:13:11 | 26.522 | 352.743 | 28.43 | 5444 | 19.3 |  | 122.5197 | 25.6066 | 256.0509 | 192.0545 | 9.5399 | 298.1214
2010-07-28 | 16:13:21 | 26.689 | 351.487 | 28.47 | 5440 | 19.3 |  | 122.0834 | 25.5154 | 255.139 | 191.3705 | 9.5059 | 297.0597
2010-07-28 | 16:13:31 | 26.856 | 355.589 | 28.34 | 5427 | 19.3 |  | 123.5082 | 25.8132 | 258.1167 | 193.604 | 9.6169 | 300.5267
2010-07-28 | 16:13:41 | 27.023 | 353.373 | 28.41 | 5414 | 19.3 |  | 122.7386 | 25.6524 | 256.5083 | 192.3976 | 9.5569 | 298.6539
2010-07-28 | 16:13:51 | 27.19 | 353.689 | 28.4 | 5396 | 19.3 |  | 122.8482 | 25.6753 | 256.7373 | 192.5694 | 9.5655 | 298.9206
2010-07-28 | 16:14:01 | 27.357 | 356.225 | 28.32 | 5394 | 19.3 |  | 123.7292 | 25.8594 | 258.5785 | 193.9503 | 9.6341 | 301.0643
2010-07-28 | 16:14:11 | 27.524 | 355.197 | 28.31 | 5382 | 19.4 |  | 123.6182 | 25.8362 | 258.3104 | 193.7493 | 9.6074 | 300.2308
2010-07-28 | 16:14:21 | 27.69 | 356.47 | 28.27 | 5369 | 19.4 |  | 124.0612 | 25.9288 | 259.2361 | 194.4436 | 9.6418 | 301.3066
2010-07-28 | 16:14:31 | 27.857 | 359.032 | 28.19 | 5356 | 19.4 |  | 124.9528 | 26.1151 | 261.0991 | 195.841 | 9.7111 | 303.4721
2010-07-28 | 16:14:41 | 28.024 | 362.915 | 28.07 | 5342 | 19.4 |  | 126.3045 | 26.3976 | 263.9235 | 197.9594 | 9.8162 | 306.7548
2010-07-28 | 16:14:51 | 28.191 | 361.291 | 28.12 | 5330 | 19.4 |  | 125.7392 | 26.2795 | 262.7423 | 197.0735 | 9.7722 | 305.3819
2010-07-28 | 16:15:01 | 28.358 | 365.861 | 27.98 | 5323 | 19.4 |  | 127.3296 | 26.6119 | 266.0655 | 199.5661 | 9.8958 | 309.2445
2010-07-28 | 16:15:11 | 28.525 | 366.849 | 27.95 | 5319 | 19.4 |  | 127.6735 | 26.6838 | 266.7841 | 200.1051 | 9.9225 | 310.0797
2010-07-28 | 16:15:21 | 28.692 | 368.503 | 27.9 | 5297 | 19.4 |  | 128.2491 | 26.8041 | 267.9869 | 201.0072 | 9.9673 | 311.4776
2010-07-28 | 16:15:31 | 28.859 | 366.783 | 27.91 | 5286 | 19.5 |  | 127.9048 | 26.7321 | 267.2299 | 200.4395 | 9.9219 | 310.06
2010-07-28 | 16:15:41 | 29.026 | 369.102 | 27.84 | 5285 | 19.5 |  | 128.7136 | 26.9011 | 268.9196 | 201.7068 | 9.9847 | 312.0206
2010-07-28 | 16:15:51 | 29.193 | 369.102 | 27.84 | 5271 | 19.5 |  | 128.7136 | 26.9011 | 268.9196 | 201.7068 | 9.9847 | 312.0206
2010-07-28 | 16:16:01 | 29.36 | 373.793 | 27.7 | 5254 | 19.5 |  | 130.3494 | 27.243 | 272.3372 | 204.2703 | 10.1116 | 315.986
2010-07-28 | 16:16:11 | 29.527 | 370.769 | 27.79 | 5246 | 19.5 |  | 129.295 | 27.0227 | 270.1343 | 202.6179 | 10.0298 | 313.43
2010-07-28 | 16:16:21 | 29.694 | 375.825 | 27.64 | 5227 | 19.5 |  | 131.058 | 27.3911 | 273.8177 | 205.3808 | 10.1665 | 317.7038
2010-07-28 | 16:16:31 | 29.86 | 374.469 | 27.68 | 5220 | 19.5 |  | 130.5851 | 27.2923 | 272.8297 | 204.6396 | 10.1298 | 316.5573
2010-07-28 | 16:16:41 | 30.027 | 375.146 | 27.66 | 5215 | 19.5 |  | 130.8213 | 27.3416 | 273.3232 | 205.0098 | 10.1482 | 317.1299
2010-07-28 | 16:16:51 | 30.194 | 378.841 | 27.51 | 5198 | 19.6 |  | 132.3727 | 27.6659 | 276.5253 | 207.4116 | 10.2493 | 320.2905
2010-07-28 | 16:17:01 | 30.361 | 380.562 | 27.46 | 5195 | 19.6 |  | 132.9741 | 27.7916 | 277.7815 | 208.3539 | 10.2959 | 321.7456
2010-07-28 | 16:17:11 | 30.528 | 377.471 | 27.55 | 5181 | 19.6 |  | 131.894 | 27.5658 | 275.5252 | 206.6614 | 10.2122 | 319.1321
2010-07-28 | 16:17:21 | 30.695 | 384.033 | 27.36 | 5178 | 19.6 |  | 134.1866 | 28.045 | 280.3145 | 210.2538 | 10.3897 | 324.6795
2010-07-28 | 16:17:31 | 30.862 | 385.782 | 27.31 | 5154 | 19.6 |  | 134.7979 | 28.1728 | 281.5914 | 211.2115 | 10.4371 | 326.1584
2010-07-28 | 16:17:41 | 31.029 | 384.731 | 27.34 | 5150 | 19.6 |  | 134.4307 | 28.096 | 280.8244 | 210.6362 | 10.4086 | 325.2701
2010-07-28 | 16:17:51 | 31.196 | 384.033 | 27.36 | 5149 | 19.6 |  | 134.1866 | 28.045 | 280.3145 | 210.2538 | 10.3897 | 324.6795
2010-07-28 | 16:18:01 | 31.363 | 384.033 | 27.36 | 5140 | 19.6 |  | 134.1866 | 28.045 | 280.3145 | 210.2538 | 10.3897 | 324.6795
2010-07-28 | 16:18:11 | 31.529 | 384.332 | 27.31 | 5117 | 19.7 |  | 134.5578 | 28.1226 | 281.0499 | 210.8053 | 10.399 | 324.969
2010-07-28 | 16:18:21 | 31.696 | 385.032 | 27.29 | 5103 | 19.7 |  | 134.8028 | 28.1738 | 281.5616 | 211.1891 | 10.4179 | 325.5607
2010-07-28 | 16:18:31 | 31.863 | 388.554 | 27.19 | 5104 | 19.7 |  | 136.0359 | 28.4315 | 284.137 | 213.1208 | 10.5132 | 328.5385
2010-07-28 | 16:18:40 | 32.014 | 392.114 | 27.09 | 5095 | 19.7 |  | 137.2824 | 28.692 | 286.7406 | 215.0737 | 10.6096 | 331.549
2010-07-28 | 16:18:50 | 32.18 | 393.19 | 27.06 | 5098 | 19.7 |  | 137.659 | 28.7707 | 287.5272 | 215.6638 | 10.6387 | 332.4586
2010-07-28 | 16:19:00 | 32.347 | 387.493 | 27.22 | 5077 | 19.7 |  | 135.6645 | 28.3539 | 283.3614 | 212.5391 | 10.4845 | 327.6418
2010-07-28 | 16:19:10 | 32.514 | 392.831 | 27.07 | 5072 | 19.7 |  | 137.5333 | 28.7445 | 287.2647 | 215.4669 | 10.629 | 332.1551
2010-07-28 | 16:19:20 | 32.681 | 398.622 | 26.91 | 5047 | 19.7 |  | 139.5608 | 29.1682 | 291.4996 | 218.6432 | 10.7857 | 337.0516
2010-07-28 | 16:19:30 | 32.848 | 395.674 | 26.95 | 5046 | 19.8 |  | 138.8034 | 29.0099 | 289.876 | 217.4255 | 10.7071 | 334.5963
2010-07-28 | 16:19:40 | 33.015 | 392.789 | 27.03 | 5040 | 19.8 |  | 137.7915 | 28.7984 | 287.7626 | 215.8403 | 10.629 | 332.1568
2010-07-28 | 16:19:50 | 33.182 | 395.312 | 26.96 | 5033 | 19.8 |  | 138.6765 | 28.9834 | 289.6108 | 217.2266 | 10.6973 | 334.2902