## convers.+compens.
file name: PSt1_Eq4_Sal |  |  | 2008-03-29
author: Dr. Christian Huber
programm for temperature compensated oxygen calculation of membrane PSt1
Fit of the calibration curve is optimized between 0 and 250 % air-saturation (0 and 388 Torr)
enter your values here
input of F0,T0 | 58.62 | phase angle of cal 0
input of F100,T100 | 31.05 | phase angle of cal 100 (water-vapor saturated air)
input of Fm,Tm | 30.8 | measured phase angle
input of T0 | 23.3 | temperature of cal 0
input of T100 | 17.9 | temperatur of cal100
input of Tm | 17.9 | temperature at measurement
air pressure patm | 1013 | air pressure
Salinity | 32.3 | Salinity
Results of calculation + compensation
[%] air saturation | 102.1848 | %
[%] O2 | 21.3566 | %
pO2 [hPa] | 212.4579 | hPa
pO2 [Torr] | 159.357 | Torr
cO2 [mg/L] | 7.9827 | mg/L
cO2 [ppm] | 7.9827 | ppm
cO2 [µmol/L] | 249.4589 | µmol/L
Internal calculated parameter (DO NOT CHANGE !!)
f1 | 0.801
DF/K | -0.08
DKSV/K | 0.000383
m | 22.9
tan(F0,T100) | 1.6677
tan(F0,Tm) | 1.6677
tan(F100,T100) | 0.60205
tan(Fm,Tm) | 0.59612
KSV,T100 | 0.032842
KSV,Tm | 0.032842
A | 157.6438
B | 14.279
C | -0.639
a | 1.6836e-05
b | 0.0045677
c | -0.64255
Chlorinity | 17.8781

## Recalculate Fibox values
file name: PSt1_Eq4_Sal |  |  |  | 2008-03-29
author: Dr. Christian Huber
programm for temperature compensated oxygen calculation of membrane PSt1
Fit of the calibration curve is optimized between 0 and 250 % air-saturation (0 and 388 Torr)
Insert your calibration values
cal0 | 58.62 | ° | T0 | 23.3 | °C
cal100 | 31.05 | ° | T100 | 17.9 | °C
air pressure | 1020 | mbar
Salinity | 32.3 | °/°°
Internal calculated parameter (DO NOT CHANGE !!)
f1 | 0.801 | tan(F0,T100) | 1.6677 | A | 157.6438 | KSV,T100 | 0.032842 | a | 1.6843e-05
DF/K | -0.08 | tan(F0,Tm) | 1.6677 | B | 14.279 | KSV,Tm | 0.032842 | b | 0.0045726 |  |  |  |  | INSERT YOUR RESPECTIVE DATA
DKSV/K | 0.000383 | tan(F100,T100) | 0.60205 | C | -0.639 |  |  | c | -0.64241 |  |  |  |  | chamber volume [L]
m | 22.9 | tan(Fm,Tm) | 0.59636 |  |  |  |  | Chlorinity | 17.8781 |  |  |  |  | 0.026
Insert the data you get from the Ascii File recorded with the OxyView TX3-V5.31.exe software | [7 empty] | The oxygen contents are calculated automatically from the raw data
date | time/hh:mm:ss | logtime/min | oxygen/% airsatur. | phase/° | amp | temp/°C |  | % air-sat. | % oxygen | pO2 (hPa) | pO2 (Torr) | cO2 [mg/L] | cO2 [µmol/L] | cO2 [µmol/L 10 min] | cO2 [µmol/L h] | cO2 [µmol/ h]
2010-08-23 | 11:21:21 | 0 | 302.382 | 30.81 | 5953 | 17.9 |  | 102.0964 | 21.3381 | 213.7713 | 160.3421 | 8.032 | 251.0009 | -1.386 | -8.316 | -0.21622
2010-08-23 | 11:21:32 | 0.183 | 302.644 | 30.8 | 5958 | 17.9 |  | 102.1848 | 21.3566 | 213.9564 | 160.481 | 8.039 | 251.2183
2010-08-23 | 11:21:42 | 0.35 | 304.484 | 30.73 | 5944 | 17.9 |  | 102.8061 | 21.4865 | 215.2574 | 161.4567 | 8.0879 | 252.7458 | change data input according to column N
2010-08-23 | 11:21:52 | 0.517 | 301.598 | 30.84 | 5959 | 17.9 |  | 101.8316 | 21.2828 | 213.217 | 159.9263 | 8.0112 | 250.3501
2010-08-23 | 11:22:02 | 0.684 | 303.694 | 30.76 | 5950 | 17.9 |  | 102.5393 | 21.4307 | 214.6987 | 161.0377 | 8.0669 | 252.0899
2010-08-23 | 11:22:12 | 0.851 | 305.541 | 30.69 | 5941 | 17.9 |  | 103.1631 | 21.5611 | 216.0048 | 162.0173 | 8.1159 | 253.6234
2010-08-23 | 11:22:22 | 1.018 | 301.337 | 30.85 | 5954 | 17.9 |  | 101.7436 | 21.2644 | 213.0326 | 159.788 | 8.0043 | 250.1336
2010-08-23 | 11:22:32 | 1.185 | 301.859 | 30.83 | 5942 | 17.9 |  | 101.9198 | 21.3012 | 213.4016 | 160.0648 | 8.0181 | 250.5668
2010-08-23 | 11:22:42 | 1.352 | 305.541 | 30.69 | 5947 | 17.9 |  | 103.1631 | 21.5611 | 216.0048 | 162.0173 | 8.1159 | 253.6234
2010-08-23 | 11:22:52 | 1.519 | 305.541 | 30.69 | 5951 | 17.9 |  | 103.1631 | 21.5611 | 216.0048 | 162.0173 | 8.1159 | 253.6234
2010-08-23 | 11:23:02 | 1.686 | 301.987 | 30.78 | 5950 | 18 |  | 102.1721 | 21.354 | 213.902 | 160.4402 | 8.0228 | 250.7139
2010-08-23 | 11:23:12 | 1.852 | 304.088 | 30.7 | 5941 | 18 |  | 102.8826 | 21.5025 | 215.3896 | 161.5559 | 8.0786 | 252.4575
2010-08-23 | 11:23:22 | 2.02 | 300.423 | 30.84 | 5947 | 18 |  | 101.6428 | 21.2433 | 212.794 | 159.609 | 7.9813 | 249.4151
2010-08-23 | 11:23:33 | 2.186 | 300.683 | 30.83 | 5949 | 18 |  | 101.7308 | 21.2617 | 212.9782 | 159.7472 | 7.9882 | 249.6311
2010-08-23 | 11:23:43 | 2.353 | 301.465 | 30.8 | 5943 | 18 |  | 101.9953 | 21.317 | 213.532 | 160.1626 | 8.009 | 250.2801
2010-08-23 | 11:23:53 | 2.52 | 301.726 | 30.79 | 5936 | 18 |  | 102.0836 | 21.3355 | 213.7169 | 160.3013 | 8.0159 | 250.4969
2010-08-23 | 11:24:03 | 2.687 | 301.204 | 30.81 | 5953 | 18 |  | 101.907 | 21.2986 | 213.3472 | 160.024 | 8.002 | 250.0636
2010-08-23 | 11:24:13 | 2.854 | 298.609 | 30.91 | 5945 | 18 |  | 101.0292 | 21.1151 | 211.5093 | 158.6455 | 7.9331 | 247.9095
2010-08-23 | 11:24:23 | 3.021 | 300.943 | 30.82 | 5936 | 18 |  | 101.8189 | 21.2801 | 213.1626 | 159.8855 | 7.9951 | 249.8472
2010-08-23 | 11:24:33 | 3.188 | 301.465 | 30.8 | 5948 | 18 |  | 101.9953 | 21.317 | 213.532 | 160.1626 | 8.009 | 250.2801
2010-08-23 | 11:24:43 | 3.355 | 300.943 | 30.82 | 5961 | 18 |  | 101.8189 | 21.2801 | 213.1626 | 159.8855 | 7.9951 | 249.8472
2010-08-23 | 11:24:53 | 3.522 | 303.035 | 30.74 | 5943 | 18 |  | 102.5267 | 21.4281 | 214.6444 | 160.997 | 8.0507 | 251.584
2010-08-23 | 11:25:03 | 3.689 | 301.337 | 30.85 | 5943 | 17.9 |  | 101.7436 | 21.2644 | 213.0326 | 159.788 | 8.0043 | 250.1336 |  | regression formula | time
2010-08-23 | 11:25:13 | 3.856 | 303.694 | 30.76 | 5945 | 17.9 |  | 102.5393 | 21.4307 | 214.6987 | 161.0377 | 8.0669 | 252.0899 | value for T=26 min. | 250.0209 | T11
2010-08-23 | 11:25:23 | 4.022 | 302.644 | 30.8 | 5946 | 17.9 |  | 102.1848 | 21.3566 | 213.9564 | 160.481 | 8.039 | 251.2183 | value for T=1 min. | 251.4069 | T1
2010-08-23 | 11:25:33 | 4.189 | 303.431 | 30.77 | 5956 | 17.9 |  | 102.4506 | 21.4122 | 214.5129 | 160.8983 | 8.0599 | 251.8717 | difference between T25 and T1 | -1.386 | 10minutes
2010-08-23 | 11:25:43 | 4.356 | 302.382 | 30.81 | 5950 | 17.9 |  | 102.0964 | 21.3381 | 213.7713 | 160.3421 | 8.032 | 251.0009 | calculate from regression curve values for 10 minutes of photosynthesis or respiration
2010-08-23 | 11:25:53 | 4.523 | 305.012 | 30.71 | 5949 | 17.9 |  | 102.9844 | 21.5237 | 215.6307 | 161.7368 | 8.1019 | 253.1842
2010-08-23 | 11:26:03 | 4.69 | 300.296 | 30.89 | 5960 | 17.9 |  | 101.3921 | 21.191 | 212.2968 | 159.2361 | 7.9766 | 249.2696
2010-08-23 | 11:26:13 | 4.857 | 300.556 | 30.88 | 5939 | 17.9 |  | 101.4799 | 21.2093 | 212.4805 | 159.3739 | 7.9835 | 249.4853
2010-08-23 | 11:26:23 | 5.024 | 303.168 | 30.78 | 5947 | 17.9 |  | 102.3619 | 21.3936 | 214.3272 | 160.7591 | 8.0529 | 251.6537
2010-08-23 | 11:26:33 | 5.191 | 304.619 | 30.77 | 5943 | 17.8 |  | 102.641 | 21.452 | 214.9394 | 161.2183 | 8.0901 | 252.8166
2010-08-23 | 11:26:43 | 5.357 | 305.411 | 30.74 | 5963 | 17.8 |  | 102.908 | 21.5078 | 215.4986 | 161.6377 | 8.1112 | 253.4743
2010-08-23 | 11:26:53 | 5.524 | 304.355 | 30.78 | 5964 | 17.8 |  | 102.5522 | 21.4334 | 214.7534 | 161.0787 | 8.0831 | 252.5978
2010-08-23 | 11:27:03 | 5.691 | 304.092 | 30.79 | 5955 | 17.8 |  | 102.4634 | 21.4149 | 214.5675 | 160.9393 | 8.0761 | 252.3792
2010-08-23 | 11:27:13 | 5.858 | 301.472 | 30.89 | 5956 | 17.8 |  | 101.5807 | 21.2304 | 212.719 | 159.5528 | 8.0066 | 250.2049
2010-08-23 | 11:27:23 | 6.025 | 301.994 | 30.87 | 5957 | 17.8 |  | 101.7566 | 21.2671 | 213.0873 | 159.8291 | 8.0204 | 250.6381
2010-08-23 | 11:27:33 | 6.192 | 304.355 | 30.78 | 5959 | 17.8 |  | 102.5522 | 21.4334 | 214.7534 | 161.0787 | 8.0831 | 252.5978
2010-08-23 | 11:27:43 | 6.359 | 304.619 | 30.77 | 5958 | 17.8 |  | 102.641 | 21.452 | 214.9394 | 161.2183 | 8.0901 | 252.8166
2010-08-23 | 11:27:53 | 6.526 | 303.957 | 30.75 | 5954 | 17.9 |  | 102.6282 | 21.4493 | 214.8848 | 161.1773 | 8.0739 | 252.3083
2010-08-23 | 11:28:03 | 6.693 | 302.906 | 30.79 | 5952 | 17.9 |  | 102.2733 | 21.3751 | 214.1417 | 160.6199 | 8.0459 | 251.4359
2010-08-23 | 11:28:13 | 6.86 | 301.337 | 30.85 | 5963 | 17.9 |  | 101.7436 | 21.2644 | 213.0326 | 159.788 | 8.0043 | 250.1336
2010-08-23 | 11:28:23 | 7.027 | 303.431 | 30.77 | 5960 | 17.9 |  | 102.4506 | 21.4122 | 214.5129 | 160.8983 | 8.0599 | 251.8717
2010-08-23 | 11:28:33 | 7.194 | 301.859 | 30.83 | 5963 | 17.9 |  | 101.9198 | 21.3012 | 213.4016 | 160.0648 | 8.0181 | 250.5668
2010-08-23 | 11:28:43 | 7.36 | 300.296 | 30.89 | 5955 | 17.9 |  | 101.3921 | 21.191 | 212.2968 | 159.2361 | 7.9766 | 249.2696
2010-08-23 | 11:28:53 | 7.527 | 303.957 | 30.75 | 5961 | 17.9 |  | 102.6282 | 21.4493 | 214.8848 | 161.1773 | 8.0739 | 252.3083
2010-08-23 | 11:29:03 | 7.694 | 301.859 | 30.83 | 5952 | 17.9 |  | 101.9198 | 21.3012 | 213.4016 | 160.0648 | 8.0181 | 250.5668
2010-08-23 | 11:29:13 | 7.861 | 301.598 | 30.84 | 5962 | 17.9 |  | 101.8316 | 21.2828 | 213.217 | 159.9263 | 8.0112 | 250.3501
2010-08-23 | 11:29:23 | 8.028 | 302.382 | 30.81 | 5957 | 17.9 |  | 102.0964 | 21.3381 | 213.7713 | 160.3421 | 8.032 | 251.0009
2010-08-23 | 11:29:33 | 8.195 | 301.076 | 30.86 | 5957 | 17.9 |  | 101.6556 | 21.246 | 212.8484 | 159.6498 | 7.9974 | 249.9173
2010-08-23 | 11:29:43 | 8.362 | 301.076 | 30.86 | 5958 | 17.9 |  | 101.6556 | 21.246 | 212.8484 | 159.6498 | 7.9974 | 249.9173
2010-08-23 | 11:29:53 | 8.529 | 300.556 | 30.88 | 5954 | 17.9 |  | 101.4799 | 21.2093 | 212.4805 | 159.3739 | 7.9835 | 249.4853
2010-08-23 | 11:30:03 | 8.696 | 302.12 | 30.82 | 5958 | 17.9 |  | 102.008 | 21.3197 | 213.5864 | 160.2034 | 8.0251 | 250.7838
2010-08-23 | 11:30:12 | 8.846 | 300.816 | 30.87 | 5962 | 17.9 |  | 101.5677 | 21.2276 | 212.6643 | 159.5118 | 7.9904 | 249.7012
2010-08-23 | 11:30:22 | 9.013 | 302.12 | 30.82 | 5952 | 17.9 |  | 102.008 | 21.3197 | 213.5864 | 160.2034 | 8.0251 | 250.7838
2010-08-23 | 11:30:32 | 9.18 | 298.868 | 30.9 | 5954 | 18 |  | 101.1166 | 21.1334 | 211.6923 | 158.7827 | 7.94 | 248.1239
2010-08-23 | 11:30:42 | 9.347 | 301.465 | 30.8 | 5963 | 18 |  | 101.9953 | 21.317 | 213.532 | 160.1626 | 8.009 | 250.2801
2010-08-23 | 11:30:52 | 9.514 | 299.644 | 30.87 | 5953 | 18 |  | 101.3793 | 21.1883 | 212.2423 | 159.1953 | 7.9606 | 248.7686
2010-08-23 | 11:31:02 | 9.68 | 299.644 | 30.87 | 5962 | 18 |  | 101.3793 | 21.1883 | 212.2423 | 159.1953 | 7.9606 | 248.7686
2010-08-23 | 11:31:12 | 9.847 | 301.465 | 30.8 | 5950 | 18 |  | 101.9953 | 21.317 | 213.532 | 160.1626 | 8.009 | 250.2801
2010-08-23 | 11:31:22 | 10.014 | 299.904 | 30.86 | 5962 | 18 |  | 101.467 | 21.2066 | 212.426 | 159.3331 | 7.9675 | 248.9839
2010-08-23 | 11:31:32 | 10.181 | 300.556 | 30.88 | 5952 | 17.9 |  | 101.4799 | 21.2093 | 212.4805 | 159.3739 | 7.9835 | 249.4853
2010-08-23 | 11:31:42 | 10.348 | 301.598 | 30.84 | 5953 | 17.9 |  | 101.8316 | 21.2828 | 213.217 | 159.9263 | 8.0112 | 250.3501
2010-08-23 | 11:31:52 | 10.515 | 299.518 | 30.92 | 5962 | 17.9 |  | 101.1295 | 21.1361 | 211.7468 | 158.8236 | 7.956 | 248.6238
2010-08-23 | 11:32:02 | 10.682 | 301.337 | 30.85 | 5954 | 17.9 |  | 101.7436 | 21.2644 | 213.0326 | 159.788 | 8.0043 | 250.1336
2010-08-23 | 11:32:12 | 10.849 | 302.382 | 30.81 | 5964 | 17.9 |  | 102.0964 | 21.3381 | 213.7713 | 160.3421 | 8.032 | 251.0009
2010-08-23 | 11:32:22 | 11.016 | 302.382 | 30.81 | 5958 | 17.9 |  | 102.0964 | 21.3381 | 213.7713 | 160.3421 | 8.032 | 251.0009
2010-08-23 | 11:32:32 | 11.183 | 300.296 | 30.89 | 5962 | 17.9 |  | 101.3921 | 21.191 | 212.2968 | 159.2361 | 7.9766 | 249.2696
2010-08-23 | 11:32:42 | 11.35 | 300.296 | 30.89 | 5969 | 17.9 |  | 101.3921 | 21.191 | 212.2968 | 159.2361 | 7.9766 | 249.2696
2010-08-23 | 11:32:52 | 11.516 | 301.598 | 30.84 | 5966 | 17.9 |  | 101.8316 | 21.2828 | 213.217 | 159.9263 | 8.0112 | 250.3501
2010-08-23 | 11:33:02 | 11.683 | 300.951 | 30.91 | 5960 | 17.8 |  | 101.4052 | 21.1937 | 212.3515 | 159.2772 | 7.9927 | 249.7726
2010-08-23 | 11:33:12 | 11.85 | 298.362 | 31.01 | 5972 | 17.8 |  | 100.5327 | 21.0113 | 210.5244 | 157.9067 | 7.924 | 247.6236
2010-08-23 | 11:33:22 | 12.017 | 304.355 | 30.78 | 5970 | 17.8 |  | 102.5522 | 21.4334 | 214.7534 | 161.0787 | 8.0831 | 252.5978