## convers.+compens.
file name: PSt1_Eq4_Sal |  |  | 2008-03-29
author: Dr. Christian Huber
programm for temperature compensated oxygen calculation of membrane PSt1
Fit of the calibration curve is optimized between 0 and 250 % air-saturation (0 and 388 Torr)
enter your values here
input of F0,T0 | 58.62 | phase angle of cal 0
input of F100,T100 | 31.05 | phase angle of cal 100 (water-vapor saturated air)
input of Fm,Tm | 15 | measured phase angle
input of T0 | 23.3 | temperature of cal 0
input of T100 | 17.9 | temperatur of cal100
input of Tm | 18 | temperature at measurement
air pressure patm | 1013 | air pressure
Salinity | 32.3 | Salinity
Results of calculation + compensation
[%] air saturation | 505.7449 | %
[%] O2 | 105.7007 | %
pO2 [hPa] | 1051.384 | hPa
pO2 [Torr] | 788.6051 | Torr
cO2 [mg/L] | 39.4344 | mg/L
cO2 [ppm] | 39.4344 | ppm
cO2 [µmol/L] | 1232.3248 | µmol/L
Internal calculated parameter (DO NOT CHANGE !!)
f1 | 0.801
DF/K | -0.08
DKSV/K | 0.000383
m | 22.9
tan(F0,T100) | 1.6677
tan(F0,Tm) | 1.6672
tan(F100,T100) | 0.60205
tan(Fm,Tm) | 0.26795
KSV,T100 | 0.032842
KSV,Tm | 0.032881
A | 157.6438
B | 14.279
C | -0.639
a | 7.5878e-06
b | -0.002178
c | -0.83928
Chlorinity | 17.8781

## Recalculate Fibox values
file name: PSt1_Eq4_Sal |  |  |  | 2008-03-29
author: Dr. Christian Huber
programm for temperature compensated oxygen calculation of membrane PSt1
Fit of the calibration curve is optimized between 0 and 250 % air-saturation (0 and 388 Torr)
Insert your calibration values
cal0 | 58.62 | ° | T0 | 23.3 | °C
cal100 | 31.05 | ° | T100 | 17.9 | °C
air pressure | 1020 | mbar
Salinity | 32.3 | °/°°
Internal calculated parameter (DO NOT CHANGE !!)
f1 | 0.801 | tan(F0,T100) | 1.6677 | A | 157.6438 | KSV,T100 | 0.032842 | a | 1.5895e-05
DF/K | -0.08 | tan(F0,Tm) | 1.6677 | B | 14.279 | KSV,Tm | 0.032842 | b | 0.0038825 |  |  |  |  | INSERT YOUR RESPECTIVE DATA
DKSV/K | 0.000383 | tan(F100,T100) | 0.60205 | C | -0.639 |  |  | c | -0.66254 |  |  |  |  | chamber volume [L] | mg Chl a | Blank (Chamber 2) cO2 [µmol/ h]
m | 22.9 | tan(Fm,Tm) | 0.56278 |  |  |  |  | Chlorinity | 17.8781 |  |  |  |  | 0.026 | 0.087314 | -0.13198
Insert the data you get from the Ascii File recorded with the OxyView TX3-V5.31.exe software | [7 empty] | The oxygen contents are calculated automatically from the raw data
date | time/hh:mm:ss | logtime/min | oxygen/% airsatur. | phase/° | amp | temp/°C |  | % air-sat. | % oxygen | pO2 (hPa) | pO2 (Torr) | cO2 [mg/L] | cO2 [µmol/L] | cO2 [µmol/L 10 min] | cO2 [µmol/L h] | cO2 [µmol/ h] | cO2 [µmol/ h mg Chla]
2010-08-23 | 17:39:44 | 0 | 342.892 | 29.37 | 5609 | 17.9 |  | 115.7741 | 24.1968 | 242.41 | 181.823 | 9.1081 | 284.6273 | 11.85 | 71.1 | 1.8486 | 21.1718
2010-08-23 | 17:39:55 | 0.184 | 342.59 | 29.38 | 5613 | 17.9 |  | 115.6721 | 24.1755 | 242.1965 | 181.6628 | 9.1 | 284.3766
2010-08-23 | 17:40:05 | 0.351 | 340.184 | 29.46 | 5601 | 17.9 |  | 114.8601 | 24.0058 | 240.4961 | 180.3874 | 9.0362 | 282.3801 | change data input according to column N
2010-08-23 | 17:40:15 | 0.517 | 345.319 | 29.29 | 5584 | 17.9 |  | 116.5937 | 24.3681 | 244.1261 | 183.1101 | 9.1725 | 286.6422
2010-08-23 | 17:40:25 | 0.684 | 344.103 | 29.33 | 5582 | 17.9 |  | 116.1831 | 24.2823 | 243.2663 | 182.4652 | 9.1402 | 285.6327
2010-08-23 | 17:40:35 | 0.851 | 346.234 | 29.26 | 5587 | 17.9 |  | 116.9028 | 24.4327 | 244.7732 | 183.5955 | 9.1969 | 287.402
2010-08-23 | 17:40:45 | 1.018 | 347.766 | 29.21 | 5589 | 17.9 |  | 117.42 | 24.5408 | 245.8563 | 184.4079 | 9.2376 | 288.6737
2010-08-23 | 17:40:55 | 1.185 | 342.892 | 29.37 | 5571 | 17.9 |  | 115.7741 | 24.1968 | 242.41 | 181.823 | 9.1081 | 284.6273
2010-08-23 | 17:41:05 | 1.352 | 348.689 | 29.18 | 5575 | 17.9 |  | 117.7317 | 24.6059 | 246.5087 | 184.8973 | 9.2621 | 289.4398
2010-08-23 | 17:41:15 | 1.519 | 345.624 | 29.28 | 5574 | 17.9 |  | 116.6966 | 24.3896 | 244.3416 | 183.2718 | 9.1806 | 286.8952
2010-08-23 | 17:41:25 | 1.686 | 348.998 | 29.17 | 5566 | 17.9 |  | 117.8357 | 24.6277 | 246.7267 | 185.0607 | 9.2703 | 289.6957
2010-08-23 | 17:41:35 | 1.853 | 345.498 | 29.24 | 5570 | 18 |  | 116.8931 | 24.4307 | 244.7213 | 183.5566 | 9.1788 | 286.837
2010-08-23 | 17:41:45 | 2.02 | 346.109 | 29.22 | 5562 | 18 |  | 117.0998 | 24.4739 | 245.1539 | 183.881 | 9.195 | 287.3441
2010-08-23 | 17:41:55 | 2.186 | 343.673 | 29.3 | 5561 | 18 |  | 116.2758 | 24.3016 | 243.4288 | 182.5871 | 9.1303 | 285.3221
2010-08-23 | 17:42:05 | 2.353 | 347.334 | 29.18 | 5558 | 18 |  | 117.5143 | 24.5605 | 246.0217 | 184.532 | 9.2276 | 288.3613
2010-08-23 | 17:42:15 | 2.52 | 347.334 | 29.18 | 5563 | 18 |  | 117.5143 | 24.5605 | 246.0217 | 184.532 | 9.2276 | 288.3613
2010-08-23 | 17:42:25 | 2.687 | 347.027 | 29.19 | 5546 | 18 |  | 117.4105 | 24.5388 | 245.8044 | 184.369 | 9.2194 | 288.1066
2010-08-23 | 17:42:35 | 2.854 | 346.415 | 29.21 | 5545 | 18 |  | 117.2032 | 24.4955 | 245.3705 | 184.0435 | 9.2031 | 287.598
2010-08-23 | 17:42:45 | 3.021 | 345.193 | 29.25 | 5549 | 18 |  | 116.79 | 24.4091 | 244.5053 | 183.3946 | 9.1707 | 286.5839
2010-08-23 | 17:42:55 | 3.188 | 347.641 | 29.17 | 5547 | 18 |  | 117.6182 | 24.5822 | 246.2393 | 184.6951 | 9.2357 | 288.6163
2010-08-23 | 17:43:05 | 3.355 | 349.49 | 29.11 | 5538 | 18 |  | 118.2439 | 24.713 | 247.5491 | 185.6776 | 9.2848 | 290.1515
2010-08-23 | 17:43:15 | 3.522 | 349.181 | 29.12 | 5546 | 18 |  | 118.1393 | 24.6911 | 247.3302 | 185.5134 | 9.2766 | 289.895
2010-08-23 | 17:43:25 | 3.689 | 348.134 | 29.11 | 5538 | 18.1 |  | 118.0258 | 24.6674 | 247.0603 | 185.311 | 9.2503 | 289.0715 |  | regression formula | time
2010-08-23 | 17:43:35 | 3.855 | 347.212 | 29.14 | 5533 | 18.1 |  | 117.713 | 24.602 | 246.4056 | 184.8199 | 9.2258 | 288.3055 | value for T=26 min. | 302.19 | T11
2010-08-23 | 17:43:45 | 4.022 | 346.598 | 29.16 | 5530 | 18.1 |  | 117.5051 | 24.5586 | 245.9703 | 184.4934 | 9.2095 | 287.7961 | value for T=1 min. | 290.34 | T1
2010-08-23 | 17:43:55 | 4.189 | 348.134 | 29.11 | 5535 | 18.1 |  | 118.0258 | 24.6674 | 247.0603 | 185.311 | 9.2503 | 289.0715 | difference between T25 and T1 | 11.85 | 10minutes
2010-08-23 | 17:44:06 | 4.356 | 350.109 | 29.09 | 5521 | 18 |  | 118.4533 | 24.7567 | 247.9875 | 186.0064 | 9.3013 | 290.6654 | calculate from regression curve values for 10 minutes of photosynthesis or respiration
2010-08-23 | 17:44:16 | 4.523 | 349.181 | 29.12 | 5527 | 18 |  | 118.1393 | 24.6911 | 247.3302 | 185.5134 | 9.2766 | 289.895
2010-08-23 | 17:44:26 | 4.69 | 352.598 | 29.01 | 5525 | 18 |  | 119.2953 | 24.9327 | 249.7502 | 187.3286 | 9.3674 | 292.7315
2010-08-23 | 17:44:36 | 4.857 | 350.73 | 29.07 | 5525 | 18 |  | 118.6631 | 24.8006 | 248.4268 | 186.336 | 9.3178 | 291.1803
2010-08-23 | 17:44:46 | 5.024 | 350.73 | 29.07 | 5520 | 18 |  | 118.6631 | 24.8006 | 248.4268 | 186.336 | 9.3178 | 291.1803
2010-08-23 | 17:44:56 | 5.191 | 350.419 | 29.08 | 5532 | 18 |  | 118.5582 | 24.7787 | 248.2071 | 186.1711 | 9.3095 | 290.9227
2010-08-23 | 17:45:06 | 5.358 | 349.615 | 29.15 | 5523 | 17.9 |  | 118.0442 | 24.6712 | 247.1632 | 185.3882 | 9.2867 | 290.2083
2010-08-23 | 17:45:16 | 5.524 | 353.974 | 29.01 | 5514 | 17.9 |  | 119.5158 | 24.9788 | 250.2444 | 187.6993 | 9.4024 | 293.8261
2010-08-23 | 17:45:26 | 5.691 | 352.722 | 29.05 | 5515 | 17.9 |  | 119.0932 | 24.8905 | 249.3595 | 187.0356 | 9.3692 | 292.7871
2010-08-23 | 17:45:36 | 5.858 | 354.601 | 28.99 | 5519 | 17.9 |  | 119.7278 | 25.0231 | 250.6882 | 188.0322 | 9.4191 | 294.3472
2010-08-23 | 17:45:46 | 6.025 | 350.544 | 29.12 | 5513 | 17.9 |  | 118.3578 | 24.7368 | 247.8197 | 185.8806 | 9.3113 | 290.9791
2010-08-23 | 17:45:56 | 6.192 | 352.722 | 29.05 | 5510 | 17.9 |  | 119.0932 | 24.8905 | 249.3595 | 187.0356 | 9.3692 | 292.7871
2010-08-23 | 17:46:06 | 6.359 | 353.66 | 29.02 | 5504 | 17.9 |  | 119.41 | 24.9567 | 250.0229 | 187.5331 | 9.3941 | 293.5659
2010-08-23 | 17:46:16 | 6.526 | 353.66 | 29.02 | 5521 | 17.9 |  | 119.41 | 24.9567 | 250.0229 | 187.5331 | 9.3941 | 293.5659
2010-08-23 | 17:46:26 | 6.693 | 353.66 | 29.02 | 5507 | 17.9 |  | 119.41 | 24.9567 | 250.0229 | 187.5331 | 9.3941 | 293.5659
2010-08-23 | 17:46:36 | 6.86 | 356.176 | 28.94 | 5508 | 17.9 |  | 120.2596 | 25.1343 | 251.8018 | 188.8674 | 9.4609 | 295.6547
2010-08-23 | 17:46:46 | 7.027 | 355.545 | 28.96 | 5499 | 17.9 |  | 120.0465 | 25.0897 | 251.3557 | 188.5328 | 9.4442 | 295.1309
2010-08-23 | 17:46:56 | 7.194 | 353.66 | 29.02 | 5492 | 17.9 |  | 119.41 | 24.9567 | 250.0229 | 187.5331 | 9.3941 | 293.5659
2010-08-23 | 17:47:06 | 7.361 | 355.545 | 28.96 | 5501 | 17.9 |  | 120.0465 | 25.0897 | 251.3557 | 188.5328 | 9.4442 | 295.1309
2010-08-23 | 17:47:16 | 7.527 | 355.861 | 28.95 | 5501 | 17.9 |  | 120.153 | 25.112 | 251.5786 | 188.7 | 9.4526 | 295.3926
2010-08-23 | 17:47:26 | 7.694 | 356.492 | 28.93 | 5496 | 17.9 |  | 120.3663 | 25.1566 | 252.0252 | 189.035 | 9.4693 | 295.917
2010-08-23 | 17:47:36 | 7.861 | 359.032 | 28.85 | 5493 | 17.9 |  | 121.2239 | 25.3358 | 253.8208 | 190.3818 | 9.5368 | 298.0253
2010-08-23 | 17:47:46 | 8.028 | 358.077 | 28.88 | 5495 | 17.9 |  | 120.9014 | 25.2684 | 253.1457 | 189.8754 | 9.5114 | 297.2326
2010-08-23 | 17:47:56 | 8.195 | 357.442 | 28.9 | 5486 | 17.9 |  | 120.687 | 25.2236 | 252.6968 | 189.5387 | 9.4946 | 296.7055
2010-08-23 | 17:48:06 | 8.362 | 356.492 | 28.93 | 5491 | 17.9 |  | 120.3663 | 25.1566 | 252.0252 | 189.035 | 9.4693 | 295.917
2010-08-23 | 17:48:16 | 8.529 | 359.032 | 28.85 | 5491 | 17.9 |  | 121.2239 | 25.3358 | 253.8208 | 190.3818 | 9.5368 | 298.0253
2010-08-23 | 17:48:26 | 8.696 | 354.164 | 28.96 | 5483 | 18 |  | 119.8251 | 25.0434 | 250.8594 | 188.1605 | 9.409 | 294.0315
2010-08-23 | 17:48:36 | 8.863 | 355.422 | 28.92 | 5470 | 18 |  | 120.2509 | 25.1324 | 251.7508 | 188.8292 | 9.4424 | 295.0763
2010-08-23 | 17:48:46 | 9.03 | 357.955 | 28.84 | 5475 | 18 |  | 121.1078 | 25.3115 | 253.5448 | 190.1748 | 9.5097 | 297.1791
2010-08-23 | 17:48:56 | 9.197 | 353.223 | 28.99 | 5487 | 18 |  | 119.5069 | 24.9769 | 250.1932 | 187.6609 | 9.384 | 293.2507
2010-08-23 | 17:49:06 | 9.363 | 355.107 | 28.93 | 5481 | 18 |  | 120.1442 | 25.1101 | 251.5276 | 188.6617 | 9.4341 | 294.8147
2010-08-23 | 17:49:15 | 9.514 | 355.738 | 28.91 | 5472 | 18 |  | 120.3576 | 25.1547 | 251.9742 | 188.9967 | 9.4508 | 295.3382
2010-08-23 | 17:49:25 | 9.681 | 356.054 | 28.9 | 5464 | 18 |  | 120.4644 | 25.1771 | 252.1979 | 189.1645 | 9.4592 | 295.6004
2010-08-23 | 17:49:35 | 9.847 | 358.592 | 28.82 | 5463 | 18 |  | 121.3231 | 25.3565 | 253.9956 | 190.5129 | 9.5266 | 297.7075
2010-08-23 | 17:49:45 | 10.014 | 358.273 | 28.83 | 5457 | 18 |  | 121.2154 | 25.334 | 253.7701 | 190.3438 | 9.5182 | 297.4432
2010-08-23 | 17:49:55 | 10.181 | 358.472 | 28.78 | 5456 | 18.1 |  | 121.5308 | 25.3999 | 254.3972 | 190.8141 | 9.525 | 297.656
2010-08-23 | 17:50:05 | 10.348 | 357.836 | 28.8 | 5458 | 18.1 |  | 121.3149 | 25.3548 | 253.9454 | 190.4752 | 9.5081 | 297.1273
2010-08-23 | 17:50:15 | 10.515 | 355.618 | 28.87 | 5458 | 18.1 |  | 120.563 | 25.1977 | 252.3713 | 189.2946 | 9.4491 | 295.2856
2010-08-23 | 17:50:25 | 10.682 | 360.07 | 28.73 | 5445 | 18.1 |  | 122.0724 | 25.5131 | 255.5309 | 191.6645 | 9.5674 | 298.9825
2010-08-23 | 17:50:35 | 10.849 | 357.836 | 28.8 | 5456 | 18.1 |  | 121.3149 | 25.3548 | 253.9454 | 190.4752 | 9.5081 | 297.1273
2010-08-23 | 17:50:45 | 11.016 | 357.836 | 28.8 | 5452 | 18.1 |  | 121.3149 | 25.3548 | 253.9454 | 190.4752 | 9.5081 | 297.1273
2010-08-23 | 17:50:55 | 11.183 | 359.229 | 28.8 | 5450 | 18 |  | 121.5389 | 25.4016 | 254.4474 | 190.8518 | 9.5436 | 298.237
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23
2010-08-23